# Assessment Requirements for AHCIRG433 Manage irrigation systems

Release: 1

Assessment Requirements for AHCIRG433 Manage irrigation systems

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

access and prepare data records for both print-based and computer-based data

apply measuring and testing techniques

calculate pressure differentials, flow rates, crop yields, estimated water usage/actual water usage

develop and supervise procedures for starting up, carrying out operational checks and shutting down

identify adverse environmental impacts of irrigation activities and appropriate remedial action

measure output and efficiency of an irrigation system

measure, interpret and adjust flow rates and pressures

monitor system effectiveness

# Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices of irrigation system management

best practices for reducing environmental impacts of irrigation

component specifications

environmental impacts of irrigation using water from any ground or underground source

irrigation schedules

pump types used in irrigation systems and their output and efficiency ratings

soil moisture testing techniques

irrigation technologies

using records to review an irrigation system

water in soils and plants

water requirements of plants/crops consistent with sound environmental management

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72