# Assessment Requirements for AHCIRG438 Select and manage pumping systems for irrigation

Release: 1

Assessment Requirements for AHCIRG438 Select and manage pumping systems for irrigation

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has selected and managed an irrigation pumping system on at least one occasion and has:

identified irrigation system requirements from the irrigation design

selected pump according to type, installation, range of flow rates, operating head and delivery distance

calculated pumping requirements and pressure loss due to irrigation components

supervised installation of pumps

monitored the performance of pumps, valves and filters

developed maintenance procedures for the pumping system

carried out troubleshooting on the pumping system.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

application of mechanical, hydraulic and electrical principles

automatic pump switches, including:

flow switches

irrigation controllers

pressure switches

timers

sources of information and the processes for the calculation of material requirements and flow rates

advantages and disadvantages of each pump type

selection factors for pumps, including:

source of water and lift

the required pumping flow rate and pressure

the total dynamic head

the total suction head

types of pumps and application in irrigation, including:

centrifugal

propeller

submersible

vertical turbine

types of pumps suitable as booster and floating pumps

discharge and flow rates

types of impellers and their use

environmental procedures for installing and maintaining irrigation pumping systems

pump installation factors, including:

adequate space, head room, ventilation and lighting

correct alignment procedures of pump and motor shafts with direct coupled units

provision for adjustment and ease of dismantling

levelling and alignment processes

overhaul or repair operations

properties of water including pressure and flow rates

pump components and their principles of operation

pump efficiency, performance and pressure testing

pump positioning (driver alignment and suction length)

access for routine preventative maintenance

types of valves

pump cavitation, cause and effect.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

irrigation pumping system equipment and tools

irrigation pumping system measuring, and recording equipment and procedures

timeframes:

according to the job requirements.

Assessors of this must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72