# Assessment Requirements for AHCIRG441 Evaluate water supply for irrigation

Release: 1

Assessment Requirements for AHCIRG441 Evaluate water supply for irrigation

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has evaluated water supply for irrigation on at least one occasion and has:

estimated the irrigation requirements of plants

calculated water losses in an irrigation system

interpreted results for electrical conductivity of irrigation water

taken water samples

calculated capital and operating expenditure for a water supply system

compared costs for different water sources.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

plant water requirements in terms of water quality and frequency of supply

salinity and composition impacts on soil structure and plant growth

soils and water, soil moisture retention and movement, plant root zones and development, infiltration and leaching

climatic factors in irrigation development, rainfall, evaporation, evapotranspiration and hydrology

irrigation drainage, seepage, surface and subsurface drainage systems

irrigation scheduling, soil moisture measurement

efficiency of irrigation systems and long-term viability

management planning and operation of water allocations

cost benefit analysis

capital and operating expenditure calculations to source water

operations and maintenance requirements

legislation relevant to the supply of water for irrigation.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

water source sampling and testing equipment and procedures

legislation relevant to the supply of water for irrigation

timeframes:

according to the job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72