# Assessment Requirements for AHCIRG442 Supervise irrigation system installation

Release: 1

Assessment Requirements for AHCIRG442 Supervise irrigation system installation

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has supervised an irrigation system installation on at least one occasion and has:

implemented employment procedures

conducted work health and safety risk assessment

developed irrigation system construction and installation procedures

interpreted irrigation designs

supervised installation tasks including:

assembling sprinklers, pressure regulators and hose directors

checking operating specifications for pressures and flow rates

completing installation work and testing components

installing irrigation components

installing power and pumping plant

laying and joining sprinkler lateral pipelines

laying and joining supply and distribution pipeline

pressure testing the system

setting out and preparing site

setting up irrigation controllers

undertaking start-up procedures

developed irrigation system operating procedures.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

employment procedures

project management principles

safe work practices for construction

design interpretation

volume and pressure requirements

water quality and water filtration techniques

behaviour of water on varying terrain and soil types

calculations for installing low volume irrigation systems

operating specifications for pressures and flow rates

pump capacity

types of pumps and water flow rates

licensing requirements for electrical work

equipment and machinery operation and maintenance manual

principles and practices of irrigation system installation supervision

characteristics and operation of joints, valves and sprinkler components

setting up fertigation equipment

distribution uniformity

start-up procedures

setting up irrigation controllers

commissioning procedures

soil water retention testing techniques.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

irrigation system testing and monitoring equipment and manual specifications:

workplace procedures applicable to health and safety in the workplace, environment and irrigation system installation

relationships

client, authorities and agencies

timeframes:

according to the job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72