# AHCIRG442 Supervise irrigation system installation

Release: 1

AHCIRG442 Supervise irrigation system installation

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to develop construction procedures, interpret irrigation system design, and coordinate and supervise the construction and installation of a range of irrigation systems.

The unit applies to individuals who apply specialised skills and knowledge to the supervision of irrigation system installation and have responsibility for the output of others. This includes applying and communicating non-routine technical solutions to predictable and unpredictable problems.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Develop and implement construction procedures | 1.1 Develop employment and contract management procedures 1.2 Develop procedures for controlling and recording site deliveries 1.3 Develop procedures for recording the hire of plant and equipment 1.4 Assess workplace health and safety risks associated with construction activities and implement suitable controls and procedures to minimise risk 1.5 Notify client, authorities and agencies of the schedule of works 1.6 Develop procedures to minimise environmental impacts of construction work |
| 2. Interpret the irrigation system design for the site | 2.1 Determine the purpose, scale and required output of the irrigation system 2.2 Assess the landscape of the site 2.3 Determine construction requirements and verify with the designer 2.4 Select components to meet design specifications and site requirements |
| 3. Organise resource requirements | 3.1 Nominate tasks, timelines and required resources 3.2 Organise labour requirements 3.3 Verify and check parts and equipment delivered to the site 3.4 Select and maintain equipment and machinery according to operation and maintenance manual 3.5 Allocate jobs and tasks to the work team 3.6 Carry out safety induction for the task and site |
| 4. Supervise construction work | 4.1 Interpret plan and supervise construction work 4.2 Confirm site is prepared and set out appropriately 4.3 Confirm the correct lay out of the main line 4.4 Supervise the insertion of sub-mains and flushing manifold 4.5 Supervise the installation of risers, emitters and other components |
| 5. Complete installation work and test components | 5.1 Connect water supply 5.2 Check emitters for optimal coverage and efficiency 5.3 Set valves to allow water to targeted areas 5.4 Start up and flush the system 5.5 Attach measuring devices and controllers to the system |
| 6. Commission system | 6.1 Identify operating faults and take corrective action to meet design specifications 6.2 Calibrate testing and monitoring equipment 6.3 Carry out testing procedures and record results 6.4 Document irrigation system operating procedures 6.5 Hand over system in operating order |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Identify and interpret information regarding supervising irrigation system installation |
| Oral communication | Use clear language to notify client, authorities and agencies of installation activities Initiate discussions with client using clear language to communicate irrigation system hand over |
| Navigate the world of work | Identify and describe own workplace requirements, including safety requirements, associated with own role and area of responsibility |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCIRG442 Supervise irrigation system installation | AHCIRG431 Supervise irrigation system installation | Performance criteria clarified Foundation skills added Assessment requirements updated | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCIRG442 Supervise irrigation system installation

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has supervised an irrigation system installation on at least one occasion and has:

implemented employment procedures

conducted work health and safety risk assessment

developed irrigation system construction and installation procedures

interpreted irrigation designs

supervised installation tasks including:

assembling sprinklers, pressure regulators and hose directors

checking operating specifications for pressures and flow rates

completing installation work and testing components

installing irrigation components

installing power and pumping plant

laying and joining sprinkler lateral pipelines

laying and joining supply and distribution pipeline

pressure testing the system

setting out and preparing site

setting up irrigation controllers

undertaking start-up procedures

developed irrigation system operating procedures.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

employment procedures

project management principles

safe work practices for construction

design interpretation

volume and pressure requirements

water quality and water filtration techniques

behaviour of water on varying terrain and soil types

calculations for installing low volume irrigation systems

operating specifications for pressures and flow rates

pump capacity

types of pumps and water flow rates

licensing requirements for electrical work

equipment and machinery operation and maintenance manual

principles and practices of irrigation system installation supervision

characteristics and operation of joints, valves and sprinkler components

setting up fertigation equipment

distribution uniformity

start-up procedures

setting up irrigation controllers

commissioning procedures

soil water retention testing techniques.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

irrigation system testing and monitoring equipment and manual specifications:

workplace procedures applicable to health and safety in the workplace, environment and irrigation system installation

relationships

client, authorities and agencies

timeframes:

according to the job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72