# AHCIRG442 Supervise irrigation system installation

Release: 1

AHCIRG442 Supervise irrigation system installation

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to develop construction procedures, interpret irrigation system design, and coordinate and supervise the construction and installation of a range of irrigation systems.

The unit applies to individuals who apply specialised skills and knowledge to the supervision of irrigation system installation and have responsibility for the output of others. This includes applying and communicating non-routine technical solutions to predictable and unpredictable problems.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Develop and implement construction procedures | 1.1 Develop employment and contract management procedures 1.2 Develop procedures for controlling and recording site deliveries 1.3 Develop procedures for recording the hire of plant and equipment 1.4 Assess workplace health and safety risks associated with construction activities and implement suitable controls and procedures to minimise risk 1.5 Notify client, authorities and agencies of the schedule of works 1.6 Develop procedures to minimise environmental impacts of construction work |
| 2. Interpret the irrigation system design for the site | 2.1 Determine the purpose, scale and required output of the irrigation system 2.2 Assess the landscape of the site 2.3 Determine construction requirements and verify with the designer 2.4 Select components to meet design specifications and site requirements |
| 3. Organise resource requirements | 3.1 Nominate tasks, timelines and required resources 3.2 Organise labour requirements 3.3 Verify and check parts and equipment delivered to the site 3.4 Select and maintain equipment and machinery according to operation and maintenance manual 3.5 Allocate jobs and tasks to the work team 3.6 Carry out safety induction for the task and site |
| 4. Supervise construction work | 4.1 Interpret plan and supervise construction work 4.2 Confirm site is prepared and set out appropriately 4.3 Confirm the correct lay out of the main line 4.4 Supervise the insertion of sub-mains and flushing manifold 4.5 Supervise the installation of risers, emitters and other components |
| 5. Complete installation work and test components | 5.1 Connect water supply 5.2 Check emitters for optimal coverage and efficiency 5.3 Set valves to allow water to targeted areas 5.4 Start up and flush the system 5.5 Attach measuring devices and controllers to the system |
| 6. Commission system | 6.1 Identify operating faults and take corrective action to meet design specifications 6.2 Calibrate testing and monitoring equipment 6.3 Carry out testing procedures and record results 6.4 Document irrigation system operating procedures 6.5 Hand over system in operating order |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Identify and interpret information regarding supervising irrigation system installation |
| Oral communication | Use clear language to notify client, authorities and agencies of installation activities Initiate discussions with client using clear language to communicate irrigation system hand over |
| Navigate the world of work | Identify and describe own workplace requirements, including safety requirements, associated with own role and area of responsibility |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCIRG442 Supervise irrigation system installation | AHCIRG431 Supervise irrigation system installation | Performance criteria clarified Foundation skills added Assessment requirements updated | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72