# Assessment Requirements for AHCIRG443 Supervise irrigation system maintenance

Release: 1

Assessment Requirements for AHCIRG443 Supervise irrigation system maintenance

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has supervised irrigation system maintenance on at least one occasion and has:

developed workplace procedures for pre-season, irrigation and post-season maintenance

carried out visual checks for blockages or signs of wear in components

checked connections and controllers

checked sprinkler output and function

confirmed operational pressures

ensured proper operation of automatic flush valves

inspected irrigation systems

serviced irrigation equipment

pressure tested systems

tested emitter output and function

tested irrigation equipment

maintained testing equipment.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles and practices of irrigation system maintenance supervision

operation and maintenance requirements

workplace procedures for pre-season, irrigation and post-season maintenance

pre and post-season maintenance procedures

workplace health and safety hazards and safe work procedures

environmental impacts of irrigation maintenance

drainage systems

system components

system inspection

operating pressures and output

pumping and distribution systems

distribution uniformity

visual checks for blockages or signs of wear in components

equipment testing

pressure testing procedures.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

irrigation system testing equipment and manual specifications:

workplace procedures applicable to health and safety in the workplace and irrigation system maintenance

relationships:

specialist technical personnel

timeframes:

according to the job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72