# Assessment Requirements for AHCIRG444 Manage irrigation systems

Release: 1

Assessment Requirements for AHCIRG444 Manage irrigation systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 4.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has managed the operations of an irrigation system on at least two occasions and has:

measured, interpreted and adjusted flow rates and pressures

developed procedures for irrigation system start up, shutdown and operational checks

accessed and prepared data records for both print-based and computer-based data

calculated pressure differentials, flow rates, crop yields, estimated water usage and actual water usage

monitored system effectiveness

applied measuring and testing techniques

measured output and efficiency of an irrigation system.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles and practices of irrigation system management

irrigation schedules

irrigation technologies

component specifications

pump types used in irrigation systems and their output and efficiency ratings

soil moisture testing techniques

using records to review an irrigation system

water in soils and plants.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

irrigation system measuring, and recording equipment and manual specifications:

industry energy and water efficiency benchmarks

computer for record keeping and managing data

timeframes:

according to the job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72