# AHCIRG502 Design irrigation system maintenance and monitoring programs

Release: 1

AHCIRG502 Design irrigation system maintenance and monitoring programs

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency describes the skills and knowledge required to design irrigation system maintenance and monitoring programs.

It applies to individuals who analyse information and exercise judgement to complete a range of skilled activities and demonstrate deep knowledge in a specific technical area. They have accountability for the work of others and analyse, design and communicate solutions to a range of complex problems. All work is carried out to comply with workplace procedures.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Irrigation (IRG)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Design an irrigation system maintenance program | 1.1 Specify the resources needed to perform maintenance tasks 1.2 Specify repairs, replacements and servicing requirements for all equipment and machinery 1.3 Specify activities required to maintain the irrigation site, system hardware and water quality 1.4 Analyse manufacturer’s operating manuals and use as guidance to specify maintenance activities, schedule and skills required 1.5 Take into account water supply authority constraints and requirements for water and maintenance when scheduling system maintenance program activities 1.6 Determine labour and work health and safety requirements for each activity and record 1.7 Ensure weed control, water storage and treatment maintenance form an integral part of the system maintenance program 1.8 Specify strategies to ensure that negative impacts of irrigation, drainage and water treatment systems are minimised, and positive impacts are maximised |
| 2. Design a monitoring and scheduling program | 2.1 Integrate procedures for monitoring and recording system hardware use and performance into the monitoring and scheduling program 2.2 Integrate procedures for scheduling, monitoring and recording water use 2.3 Include procedures for monitoring and recording operating costs 2.4 Develop contingency plans in the event of water restrictions being imposed |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This unit is equivalent to AHCIRG502A Design irrigation system maintenance and monitoring programs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72