# Assessment Requirements for AHCLPW306 Undertake sampling and testing of water

Release: 1

Assessment Requirements for AHCLPW306 Undertake sampling and testing of water

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

plan a water sampling program under direction according to regulatory and organisation requirements

test and calibrate equipment according to regulatory and organisation requirements

sample and test water according to regulatory and organisation requirements

record results on data sheets

record and report water testing results to organisational standards

report obvious water quality issues observed during sampling to supervisor or manager immediately

apply work health and safety practices in the context of own work

# Knowledge Evidence

The candidate must demonstrate knowledge of:

water monitoring schedules and guidelines

standards for water quality

sampling and testing methods

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72