# AHCLPW313 Undertake sampling and testing of water

Release: 1

AHCLPW313 Undertake sampling and testing of water

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 6.0. |

# Application

This unit of competency describes the skills and knowledge required to plan and carry out sampling and testing of water quality as part of a monitoring program.

The unit applies to individuals who work in the land management sector. They work under broad direction and use discretion and judgement in the selection, allocation and use of available resources and for problem solving.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Lands, Parks and Wildlife (LPW)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan for sampling and testing fieldwork | 1.1 Confirm sampling and testing program from supervisor instruction and sampling plan 1.2 Identify parameters for water quality tests 1.3 Identify characteristics and number of samples to be collected 1.4 Identify and select equipment required for water sampling and testing 1.5 Identify hazards, assess risks and implement controls for safe operating conditions and environmental impact of sampling and testing |
| 2. Prepare equipment and resources | 2.1 Obtain equipment required for sampling and testing 2.2 Check equipment for availability and serviceability 2.3 Check and calibrate equipment according to workplace procedures and industry standards 2.4 Prepare data or recording documents ready for use 2.5 Secure testing equipment 2.6 Commence use of testing equipment |
| 3. Carry out sampling and testing of water | 3.1 Collect and test water samples according to sampling and testing program, industry standards and workplace procedures 3.2 Prepare, package and store samples for transport 3.3 Conduct and record observations for ambient and antecedent environmental conditions 3.4 Report urgent water quality or environmental issues according to workplace procedures |
| 4. Complete water sampling and testing activities | 4.1 Clean, check and store equipment 4.2 Consign unserviceable equipment to specialist for repair 4.3 Check data for accuracy and integrity 4.4 Record and report test results and observations according to workplace procedures and traceability requirements 4.5 Report changes in field conditions and equipment |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret and comprehend standards and operating procedures for conducting water tests and recording and presenting results |
| Numeracy | Calculate quantities and measurements required to prepare water samples and reagents for testing from standards and operating procedures |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCLPW313 Undertake sampling and testing of water | AHCLPW306 Undertake sampling and testing of water | Minor changes to Application Changes to Performance Criteria for clarity and brevity Updated Performance Evidence, Knowledge Evidence and Assessment Conditions | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCLPW313 Undertake sampling and testing of water

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 6.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has collected, tested, prepared and dispatched at least five water samples to a laboratory. The water samples must be from at least three of the following bodies of water:

fresh water – river or stream

fresh water – lakes or impoundments

storm water and drains

marine – open ocean

marine – coastal or intertidal

salt lakes

water with high turbidity

farmland dams and impoundments

bore water.

There must also be evidence that the individual has:

planned a water testing and sampling program under direction according to regulatory and organisation requirements

tested, verified accuracy and prepared equipment according to manufacturer instructions and regulatory and workplace requirements

collected and tested water samples according to regulatory requirements, workplace procedures and industry standards, including tested for at least five of any of the following:

pH

electrical conductivity

dissolved oxygen

turbidity

nitrate

phosphorous

prepared data sheets and recorded results

reported water testing results according to workplace procedures

reported urgent water quality and environmental concerns observed during sampling according to workplace procedures

ensured  traceability forms have been completed for environmental protection agencies

applied workplace health and safety practices.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

water monitoring in land management, including:

purpose for testing water

types of water bodies and their related ecological and environmental characteristics

scheduling guidelines for testing water quality

standards for water quality

methods and steps involved in collecting water samples, including:

water sampling equipment operation and maintenance

sampling techniques and procedures

storing water samples

transporting water samples

packaging and labelling for despatch to laboratories

packaging and labelling procedures for workplace testing

purpose of water test, equipment used, methods and procedures, including for:

temperature (in situ)

pH

electrical conductivity

dissolved oxygen

turbidity

nitrate

phosphorous

varied operating conditions, hazards and environmental conditions that may impact sampling and testing in the field.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in the field, on sites covering a range of environments indicated in the Performance Evidence

access to a water testing laboratory or an environment that accurately represents a water testing laboratory

resources, equipment and materials:

equipment and resources required for collecting and storing water samples

equipment and consumables used for conducting tests on water samples

specifications:

workplace procedures and processes for collecting and testing water samples

manufacturer operating instructions for testing equipment

safety data sheets for chemical reagents used in testing procedures

workplace instructions and specifications for purpose of water sampling

legislation, codes of practice and industry standards for conducting tests.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72