# AHCLSC208 Install aggregate paths

Release: 1

AHCLSC208 Install aggregate paths

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Application

This unit of competency describes the skills and knowledge required to install aggregate paths in landscape settings, including preparing for installation, setting out the site, ground preparation, laying aggregate surface and cleaning up site.

The unit applies to individuals who install aggregate paths under general supervision with limited autonomy or accountability.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Landscape (LSC)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and prepare for installation | 1.1 Read work instructions relating to installation of aggregate path and confirm with supervisor 1.2 Prepare and use tools, equipment and machinery according to supervisor instructions 1.3 Check and confirm quantity and quality of materials 1.4 Identify manual handling and workplace health and safety hazards, assess risks and report to supervisor 1.5 Select, fit, use and maintain personal protective equipment (PPE) applicable to the task 1.6 Implement measures to avoid environmental impacts before starting work |
| 2. Set out the site for path construction | 2.1 Mark out the location of proposed path according to site plan 2.2 Implement public risk protection measures |
| 3. Undertake ground preparation | 3.1 Clear area of debris and excavate to base level 3.2 Relocate or dispose of soil and waste materials 3.3 Install drainage structures, where required 3.4 Place and compact base material to required finished level 3.5 Install edge restraints, where required 3.6 Check set out work conforms to site plan with supervisor at regular intervals |
| 4. Lay surface aggregate materials | 4.1 Spread surface aggregate materials over area to designated depth 4.2 Screed material to ensure consistent depth of materials 4.3 Level aggregate materials to designated level and falls 4.4 Compact aggregate materials using appropriate machinery |
| 5. Make good the site | 5.1 Dispose of or recycle soil and waste material from site 5.2 Reinstate areas disturbed by installation works 5.3 Clean, maintain and store tools and equipment 5.4 Report work outcomes and malfunctions, faults, wear or damage of tools to supervisor |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Oral communication | Use clear language and standard industry terminology to report malfunctions, faults wear or damage to tools Participate in verbal exchanges to respond to questions and clarify information |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCLSC208 Install aggregate paths | AHCLSC203 Install aggregate paths | Minor changes to application Minor changes to performance criteria Foundation skills added Assessment requirements updated | Equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72