# Assessment Requirements for AHCLSC302 Construct landscape features using concrete

Release: 1

Assessment Requirements for AHCLSC302 Construct landscape features using concrete

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

interpret site plans and specifications

set out and prepare a site for concrete

measure and construct profiles

establish levels using levelling equipment

place reinforcement

pour, consolidate and finish concrete

# Knowledge Evidence

The candidate must demonstrate knowledge of:

the principles and practices of constructing concrete landscape features

industry standards in relation to reinforcing and consolidating concrete

MPA testing theory and what affects MPA specifications in a concrete mix

sub-base and sub-grade materials and preparation

the comparative environmental implications associated with soil removal and the placement of concrete

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72