# AHCLSC308 Install metal structures and features

Release: 2

AHCLSC308 Install metal structures and features

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 2.0. |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 1.0. |

# Application

This unit of competency describes the skills and knowledge required to install metal structures and features as a component of landscape project works.

This unit applies to individuals who take responsibility for their own work and for the quality of the work of others. They use discretion and judgement in the selection, allocation and use of available resources.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Landscape (LSC)

# Elements and Performance Criteria

| Elements | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and prepare work | 1.1 Interpret plans and specifications 1.2 Check the quantity and quality of materials 1.3 Select tools and equipment and check for serviceability 1.4 Identify hazards, assess risks and implement controls 1.5 Select and use personal protective equipment (PPE) |
| 2. Set out the site for the structure | 2.1 Determine and locate services 2.2 Mark out the position of the structure or feature 2.3 Establish profiles to conform to nominated tolerances 2.4 Excavate and prepare footings according to the type of structure to be erected |
| 3. Prepare and cut metal components | 3.1 Lay components out for assembly 3.2 Mark the length of components and the positions of joins 3.3 Cut, check and join components in preparation for joining and assembly |
| 4. Assemble and erect structure | 4.1 Fix, join or assemble metal components into position and fix into place 4.2 Install remaining components and fix into position 4.3 Finish off structure to ensure all components are secure and complete 4.4 Apply coatings |
| 5. Check quality of work and clean-up site | 5.1 Inspect the quality of finished works to ensure they have met the required drawings and specifications standards 5.2 Clean debris from structure and site 5.3 Remove and dispose of all debris in a manner that minimises risk to the environment 5.4 Store unused metal components for future re-use 5.5 Clean, maintain and store tools and equipment |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCLSC308 Install metal structures and features Release 2 | AHCLSC308 Install metal structures and features Release 1 | Minor typographical error corrected | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72