# AHCLSC312 Construct brick and block structures and features

Release: 1

AHCLSC312 Construct brick and block structures and features

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Application

This unit of competency describes the skills and knowledge required to construct brick structures and features or block structures and features, or both as a component of landscape project works, including preparing for work, setting out and preparing site, constructing structure or feature, checking and cleaning up site.

The unit applies to individuals who construct brick and block structures and features under broad direction, and take responsibility for their own work and for the quality of the work of others.

State/territory licensing, legislative or certification requirements apply in some jurisdictions. Users are advised to check with the relevant regulatory authority.

# Pre-requisite Unit

AHCLSC317 Construct landscape features using concrete

# Unit Sector

Landscape (LSC)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and prepare work | 1.1 Interpret site plans and specifications 1.2 Identify potential hazards and risks, and implement safe working practices to manage risks 1.3 Check the quantity and quality of materials 1.4 Select tools, equipment and machinery required for construction work and check for safe operation 1.5 Select, fit, use and maintain personal protective equipment (PPE) applicable to the task 1.6 Implement suitable control strategies for environmental problems relating to brick and block construction work |
| 2. Set out and prepare the site | 2.1 Determine, locate and mark out services from site plan where applicable 2.2 Mark out position of structure or feature according to site plans 2.3 Establish profiles to conform to nominated tolerances |
| 3. Construct structure or feature | 3.1 Mix mortar to determined ratio and add bonding, colouring agents and other appropriate admixes if required in accordance with specifications 3.2 Lay damp proofing if required 3.3 Establish base course of brick or block work to achieve final level heights 3.4 Lay courses of brick or block work using designated bonds in a manner that will ensure viability and stability of structure 3.5 Cut bricks or blocks using mechanical and hand cut method 3.6 Apply finishes to brick or block work 3.7 Apply waterproofing according to site plans and specifications 3.8 Install drainage systems according to site plans and specifications |
| 4. Check quality of work and clean-up site | 4.1 Inspect quality of finished works to ensure standard of finished structure or feature has been achieved 4.2 Clean down brick or block work surfaces in an environmentally safe and sensitive manner 4.3 Clean, maintain and store tools and equipment 4.4 Identify and report unserviceable tools and equipment according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Oral communication | Use clear language and industry standard terminology to report tool and equipment unserviceability |
| Numeracy | Calculate quantities of material, take measurements, read and use tape measures and scale rulers Set out right angles using 3:4:5 method |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCLSC312 Construct brick and block structures and features | AHCLSC303 Construct brick and block structures and features | Minor changes to application Added prerequisite unit Minor changes to performance criteria Foundation skills added Assessment requirements updated | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCLSC312 Construct brick and block structures and features

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has constructed brick and block structures and features, using two different construction methods and has:

interpreted site plans and specifications

applied workplace health and safety requirements, including fitted and used personal protective equipment (PPE)

selected, used and maintained tools and equipment required for constructing brick and block structures and features

setup profiles for brick and block structures and features

measured and constructed profiles using mathematical techniques

established levels using levelling equipment

gauged brickworks to maintain correct spacing

applied bonding techniques

cut bricks or blocks

applied joint treatment

checked quality of work and cleaned up site

cleaned brick or block

reported unserviceable tools and equipment.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles and practices of brick and block construction, including:

components of mortar, including bonding and colouring agents and ratios, and their importance

site plans and specifications

structural integrity of brick and block structures and features

Australian standards and codes relevant to constructing brick and block structures and features

local and State/Territory regulations and legislation applicable to constructing brick and block structures and features

types of bricks and blocks and their dimensions, tolerances and applications

types of brick and block structures and features, including single, double and cavity filled walls

types of brick and block patterns, joint finishing, frogs and holes, and their purpose

brick and block mechanical and hand cut methods

types of drainage applicable to brick and block structures and features

types of waterproofing

purpose of damp courses

types of jointing applicable to brick and block structures and features

types of concrete footings, reinforcement and core filling applicable to brick and block structures and features

post-construction finishes and applications

environmental impacts of bricks and block construction works

workplace requirements applicable to health and safety in the workplace for constructing brick and block structures and features, including appropriate use of PPE.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represent workplace conditions

resources, equipment and materials:

workplace procedures applicable to constructing brick and block structures and features

materials, tools and equipment applicable to constructing brick and block structures and features

PPE applicable to constructing brick and block structures and features

specifications:

workplace requirements applicable to health and safety in the workplace for constructing brick and block structures and features

site plans and specifications applicable to constructing brick and block structures and features

local and State/Territory regulations and legislation applicable to constructing brick and block structures and features

Australian standards and codes applicable to constructing brick and block structures and features

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72