# Assessment Requirements for AHCLSC313 Construct stone structures and features, and install stone cladding

Release: 1

Assessment Requirements for AHCLSC313 Construct stone structures and features, and install stone cladding

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has constructed stone structures and features using two different construction techniques, and installed stone cladding on at least one occasion and has:

interpreted site plans, design drawings and specifications

applied workplace health and safety requirements, including fitted and used personal protective equipment (PPE)

selected, used and maintained tools and equipment required for constructing stone structures and features, and installing stone cladding

set out and prepared the site and installed drainage systems

used and repositioned hand and power tools relevant to constructing stone structures and features, and installing stone cladding

shaped and cut stone for installation

constructed stone structures and features, and installed stone cladding according to plans and specifications

checked structures features, and cladding according to plans and specifications

cleaned up site

reported unserviceable tools and equipment.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles and practices for constructing stone structures and features, and installing stone cladding, including:

environmental implications associated with the construction of stone structures and features, and installing stone cladding

drainage system preparation and installation

stone types, selection, profiles and surface finishes

stone construction and cladding installation hand and power tool use

types of construction techniques, including dry stack, solid wall and veneer

types of stone cladding and construction techniques

adhesive, bonding and colouring agents and other admix components of mortar used in the construction of stone structures and features, and installation of stone cladding

types of stone structures and features

workplace requirements applicable to health and safety in the workplace for constructing stone structures and features, including appropriate use of PPE.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represent workplace conditions

resources, equipment and materials:

workplace procedures applicable to constructing stone structures and features, and installing stone cladding

materials, tools and equipment applicable to constructing stone structures and features, and installing stone cladding

PPE applicable to constructing stone structures and features, and installing stone cladding

specifications:

workplace requirements applicable to health and safety in the workplace for constructing stone structures and features, and installing stone cladding

site plans, design drawings and specifications applicable to constructing stone structures and features, and installing stone cladding

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72