# Assessment Requirements for AHCLSC316 Implement a paving project

Release: 1

Assessment Requirements for AHCLSC316 Implement a paving project

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has implemented a paving project of at least ten square metres on solid and flexible bases using straight and curved edges, individually or as part of a team on at least one occasion and has:

interpreted site plans and specifications

applied workplace health and safety requirements, including fitted and used personal protective equipment (PPE)

selected, used and maintained tools, equipment and machinery required for implementing a paving project

measured and cut pavers to specified tolerances

installed edge restraints and drainage if required

set out and excavated area, and installed stone paving according to site plan

installed base, bedding material, jointing sand or grout, and pavers according to site plans and specifications

checked quality of work and cleaned up site

cleaned up, stored and maintained tools, machinery and equipment

reported unserviceable tools, equipment and machinery.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles and practices of paving, including:

landscape paving materials

methods and practices for maintaining and repairing paved areas

methods of work schedule programming

set-out techniques

paving patterns and techniques, including formal and random

techniques for laying rigid and flexible paving

techniques for laying stone paving

the range and use of required materials, equipment and machinery

workplace requirements applicable to health and safety in the workplace for implementing a paving project, including appropriate use of PPE.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represent workplace conditions

resources, equipment and materials:

workplace procedures applicable to implementing a paving project

materials, tools, equipment and machinery applicable to implementing a paving project

PPE applicable to implementing a paving project

specifications:

workplace requirements applicable to health and safety in the workplace for implementing a paving project

site plans, design drawings and specifications applicable to implementing a paving project

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72