# Assessment Requirements for AHCLSC317 Construct landscape features using concrete

Release: 1

Assessment Requirements for AHCLSC317 Construct landscape features using concrete

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has constructed landscape features applying two concrete finishes and has:

interpreted site plans and specifications

applied workplace health and safety requirements, including fitted and used personal protective equipment (PPE)

selected, used and maintained tools and equipment required for constructing landscape features using concrete

set out and prepared a site for concrete

measured and constructed profiles

established levels using levelling equipment

installed expansion joints and placed steel reinforcement

performed concrete slump test

poured and finished concrete, including consolidation and trowelling techniques

checked quality of work and cleaned up site

reported unserviceable tools and equipment.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles and practices of constructing concrete landscape features, including:

Australian standards and codes relevant to reinforcing and consolidating concrete

Megapascal (MPa) testing theory and what affects MPa specifications in a concrete mix

industry standard terminology relevant to constructing landscape features using concrete

sub-base and sub-grade materials and preparation

expansion joints and steel reinforcement purpose and installation techniques

slump testing procedures

concrete pigments and additives use and preparation

concrete applications and placement techniques

concrete curing processes and finishing techniques

the comparative environmental implications associated with soil removal and the placement of concrete

workplace requirements applicable to health and safety in the workplace for constructing landscape features using concrete, including appropriate use of PPE.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represent workplace conditions

assessment of this competency can be conducted as part of a team working on a large group project

resources, equipment and materials:

workplace procedures applicable to constructing landscape features using concrete

materials, tools and equipment applicable to constructing landscape features using concrete

concrete slump test equipment

PPE applicable to constructing landscape features using concrete

specifications:

workplace requirements applicable to health and safety in the workplace for constructing landscape features using concrete

site plans and specifications applicable to constructing landscape features using concrete

Australian standards and codes applicable to constructing landscape features using concrete

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72