# Assessment Requirements for AHCLSC402 Apply building codes and standards to the construction process for Class 10 buildings

Release: 1

Assessment Requirements for AHCLSC402 Apply building codes and standards to the construction process for Class 10 buildings

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has applied codes and standards to the construction process of one Class 10 building project, to a maximum of one storeys, and has:

determined type of construction and use of building from construction plans and specifications and class of building using National Construction Code (NCC) classifications

identified current building and construction codes and Australian Standards relevant to the landscape construction projects

applied NCC performance requirements in relation to the design and construction of the building, including:

energy efficiency

damp and weatherproofing

fire safety

health and amenity

structure

safe movement and access

ancillary provisions

applied performance solutions to ensure construction complies with NCC performance requirements

identified faults and problems and propose actions to rectify

completed documentation

inspected building to determine fire protection compliance with NCC and other legislative requirements.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace policies and procedures, quality systems, best practice approaches, and safety requirements

processes, procedures and techniques of construction

basic building design principles and the behaviour of structures under stress, strain, compression, bending or combined actions

project plans, specifications, working drawings and structural details

construction terminology

NCC:

performance requirements and general requirements

performance solutions and assessment methods

performance hierarchy

evidence of suitability for building materials and products

classes of building and types of construction

current building and construction codes and Australian Standards relevant to Class 10 building construction

causes and implications of building detects related to failure of applying building codes and standards to residential and commercial buildings

extent of remedial work required for various defects caused by inadequate design and incorrect application of building codes and practices

properties, characteristics and limitations of specified building materials and components.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

construction drawings, site plans and specifications

software and hardware to source and document information

specifications:

NCC Volume 2

current building and construction codes and Australian Standards relevant to Class 10 building construction projects

workplace policies and procedures, and quality procedures relevant to Class 10 building construction projects

relationships:

design and building construction professionals

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72