# AHCLSC402 Apply building codes and standards to the construction process for Class 10 buildings

Release: 1

AHCLSC402 Apply building codes and standards to the construction process for Class 10 buildings

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Application

This unit of competency describes the skills and knowledge required to access, interpret and apply relevant building codes and standards applicable to the National Construction Code (NCC) Class 10 buildings, to a maximum of one storey. It includes knowledge of the structure of the NCC, as well as the ability to access relevant information from the code as applicable to various NCC Class 10 building projects.

The unit applies to individuals who apply specialist skills and knowledge to ensure compliance with building codes and standards for Class 10 buildings. This includes applying and communicating non-routine technical solutions to predictable and unpredictable problems.

All work is carried out to comply with workplace procedures, health and safety in the workplace requirements, legislative and regulatory requirements.

State/territory licensing, legislative or certification requirements apply in some jurisdictions. Users are advised to check with the relevant regulatory authority.

# Pre-requisite Unit

Nil

# Unit Sector

Landscape (LSC)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Classify building | 1.1 Determine nature of building, its use and arrangement from construction plans and specifications 1.2 Access, read and interpret Australian Standards and codes relevant NCC Class 10 construction projects 1.3 Define NCC building classification 1.4 Identify and interpret NCC multiple classifications |
| 2. Determine construction compliance requirements | 2.1 Identify NCC performance requirements relevant to Class 10, up to one storeys, landscape construction projects 2.2 Determine range of criteria to ensure construction methods comply with NCC performance requirements 2.3 Identify and document non-conforming construction methods against NCC performance requirements 2.4 Discuss performance solution with design and building construction professionals 2.5 Analyse and apply assessment methods to determine compliance with performance solution or Deem-to-Satisfy solution (DTS) 2.6 Meet the evidence of suitability requirements for building materials and products stated in the NCC 2.7 Complete documentation according to NCC requirements |
| 3. Determine fire protection requirements | 3.1 Identify NCC and other legislative requirements for passive and active fire control elements in buildings 3.2 Determine level of fire resistance required for the construction of various Class 10 buildings 3.3 Check existing buildings for compliance with passive and active fire protection requirements |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Identify and interpret information regarding requirements for NCC Class 10 construction projects |
| Oral communication | Initiate discussions with design and building construction professionals, using clear language and standard industry terminology to propose actions to rectify faults and problems |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCLSC402 Apply building codes and standards to the construction process for Class 10 buildings | Not applicable | The unit has been created to address an emerging skill or task required by industry | Newly created |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCLSC402 Apply building codes and standards to the construction process for Class 10 buildings

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has applied codes and standards to the construction process of one Class 10 building project, to a maximum of one storeys, and has:

determined type of construction and use of building from construction plans and specifications and class of building using National Construction Code (NCC) classifications

identified current building and construction codes and Australian Standards relevant to the landscape construction projects

applied NCC performance requirements in relation to the design and construction of the building, including:

energy efficiency

damp and weatherproofing

fire safety

health and amenity

structure

safe movement and access

ancillary provisions

applied performance solutions to ensure construction complies with NCC performance requirements

identified faults and problems and propose actions to rectify

completed documentation

inspected building to determine fire protection compliance with NCC and other legislative requirements.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace policies and procedures, quality systems, best practice approaches, and safety requirements

processes, procedures and techniques of construction

basic building design principles and the behaviour of structures under stress, strain, compression, bending or combined actions

project plans, specifications, working drawings and structural details

construction terminology

NCC:

performance requirements and general requirements

performance solutions and assessment methods

performance hierarchy

evidence of suitability for building materials and products

classes of building and types of construction

current building and construction codes and Australian Standards relevant to Class 10 building construction

causes and implications of building detects related to failure of applying building codes and standards to residential and commercial buildings

extent of remedial work required for various defects caused by inadequate design and incorrect application of building codes and practices

properties, characteristics and limitations of specified building materials and components.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

construction drawings, site plans and specifications

software and hardware to source and document information

specifications:

NCC Volume 2

current building and construction codes and Australian Standards relevant to Class 10 building construction projects

workplace policies and procedures, and quality procedures relevant to Class 10 building construction projects

relationships:

design and building construction professionals

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72