# Assessment Requirements for AHCLSC403 Apply structural principles to Class 10 buildings

Release: 1

Assessment Requirements for AHCLSC403 Apply structural principles to Class 10 buildings

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has applied structural principles to the construction of one National Construction Code (NCC) Class 10 building project, and has:

assessed the structural integrity of the construction project

applied technical construction principles and concepts to the selection, integration and building of construction elements and components

planned and documented the structural principles of the building

coordinated, planned, implemented and checked construction.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

NCC:

performance requirements and general requirements

performance solutions and assessment methods

performance hierarchy

evidence of suitability for building materials and products

classes of building and types of construction

project documentation:

approval project plans and specifications

structural designs and specifications

engineer’s footing design and specifications

registered plans

contour site plan

geotechnical report

underpinning, rock anchors and shoring design and specifications

retaining wall and tanking design and specifications

structural, floor, wall and roof systems

causes and implications of structural defects related to failure of applying structural principles to class 10 buildings

extent of remedial work required for various defects cause by inadequate design and application of structural principles

current building and construction codes and Australian Standards relevant to Class 10 building construction

standards and codes for timber framing

footing systems:

bored pier footings

columns or stumps

concrete slab floors

reinforced piers and beams

drilled and driven piles

mass concrete piers

screw piles

waffle pod slabs

brick bases

floor system and components:

slab on ground concrete floors

engineered floor joists

platform floor construction

fitted (cut-in) floors

compressed sheet wet area flooring

sheet flooring

autoclaved aerated concrete (AAC) panel systems

AAC floor and wall systems

structural principles:

behaviour of structural materials

dead, live and wind loads

section properties

solution of force systems

wind bracing

structural wall systems:

composite walls featuring tilt-up slab, engineered timber products and lightweight AAC

framed walls incorporating timber, engineered timber products and lightweight section steel

masonry walls incorporating cavity brick, single-leaf masonry and AAC

workplace policies and procedures, quality systems, best practice approaches, and safety requirements

workplace quality documentation:

policies and procedures

workplace procedures, workplace safety and environmental requirements

various construction contracts

structural roof systems:

timber and metal pre-fabricated trusses

hand cut timber

roof types:

box gable

dual pitch

Dutch gable and Dutch hip

gable end

hip and valley

north light

skillion

rafter and purlin

accepted industry practices

roof cladding:

concrete, clay and metal tiles

shakes and shingles

short and long run, various profile and metal sheeting

wall cladding:

weather boards

coatings over base materials

corrugated metal sheeting

fibre cement and compressed wood panelling

tilt-up slab

unfired and fired AAC masonry.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

construction drawings, site plans and specifications

software and hardware to source and document information

specifications:

NCC Volume 2

current building and construction codes and Australian Standards relevant to Class 10 building construction

workplace policies and procedures, and quality procedures relevant to class 10 building construction

construction material manufacturer specifications

relationships:

design and building construction professionals

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72