# AHCLSC403 Apply structural principles to Class 10 buildings

Release: 1

AHCLSC403 Apply structural principles to Class 10 buildings

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Application

This unit of competency describes the skills and knowledge required to apply structural principles to the construction of National Construction Code (NCC) Class 10 buildings.

The unit applies to individuals who apply specialist skills and knowledge to apply structural principles to the demolition or construction of Class 10 buildings. This includes applying and communicating non-routine technical solutions to predictable and unpredictable problems.

All work is carried out to comply with workplace procedures, health and safety in the workplace requirements, legislative and regulatory requirements.

State/territory licensing, legislative or certification requirements apply in some jurisdictions. Users are advised to check with the relevant regulatory authority.

# Pre-requisite Unit

AHCLSC402 Apply building codes and standards to the construction process for Class 10 buildings

# Unit Sector

Landscape (LSC)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Analyse the structural integrity of building project | 1.1 Determine class of building, intended use and climate zone from the NCC 1.2 Analyse project compliance with NCC bushfire, high wind, earthquake and alpine environment requirements 1.3 Analyse building design and structural integrity from plans and specifications, building construction codes and Australian Standards 1.4 Determine the effect of section properties on various materials 1.5 Determine if structural performance meets NCC general requirements and performance requirements 1.6 Confirm analysis with industry design and building construction professionals 1.7 Conduct pre-commencement site inspection to confirm analysis 1.8 Assess new and emerging building technologies for application to the construction process and compliance with NCC requirements and Australian Standards |
| 2. Plan, coordinate and manage the laying of footings | 2.1 Identify earthworks and footing or slab configuration from project plans and specifications 2.2 Establish cut and fill, excavation and compaction compliance with geotechnical report 2.3 Assess performance or reinforcement, concrete and other elements that contribute to structural integrity of specified footings 2.4 Determine compliance with building and construction regulations, standards and codes 2.5 Set out footings according to project plans and specifications |
| 3. Plan, coordinate and manage the building of wall systems | 3.1 Identify and analyse structural and non-structural wall systems used in the planning of the building and construction project 3.2 Determine materials used for timber and steel framing and structural steel members compliance with NCC performance requirements, and timber framing compliance with Australian Standards 3.3 Identify, implement and check processes for erecting structural and non-structural wall systems comply with manufacturer specifications and building and construction codes and Australian Standards 3.4 Plan, implement and check requirements for application of bracing, tie-downs, tolerances, allowances, and fixing and installation of wall frame components compliance with Australian Standards, codes and manufacturer specifications 3.5 Manage processes to ensure quality of the frame, whether factory pre-cut and pre-nailed, factory pre-cut and assembled on site, or cut and assembled on site 3.6 Identify and implement allowances for services to be installed 3.7 Check compliance of windows and doors installation with building and construction codes, Australian Standards and manufacturer specifications |
| 4. Plan, coordinate and manage the building of structural roof systems | 4.1 Identify type of structural roof system and components and determine compliance with NCC performance requirements 4.2 Plan, implement and check erection of structural roof, roof trusses or hand cut roof members compliance with building and construction codes, Australian Standards and accepted industry construction practices 4.3 Plan, implement and check installation of roof sarking and cladding, skylights, roof ventilators and service penetrations compliance with building and construction codes, Australian Standards and manufacturer specifications 4.4 Manage processes to ensure quality and finish of roof systems |
| 5. Plan, coordinate and manage wall cladding | 5.1 Assess structural performance of cladding to be used for bracing in the frame construction for compliance with building and construction codes, Australian Standards and manufacturer specifications 5.2 Determine cladding, vapour permeable sarking or waterproof membrane and components meet NCC performance requirements 5.3 Supervise and check installation of specified cladding compliance with building and construction codes, Australian Standards and accepted industry practices |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Oral communication | Initiate discussions with design and building construction professionals, using clear language and standard industry terminology to confirm analysis of project structural integrity |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCLSC403 Apply structural principles to Class 10 buildings | Not applicable | The unit has been created to address an emerging skill or task required by industry | Newly created |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCLSC403 Apply structural principles to Class 10 buildings

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has applied structural principles to the construction of one National Construction Code (NCC) Class 10 building project, and has:

assessed the structural integrity of the construction project

applied technical construction principles and concepts to the selection, integration and building of construction elements and components

planned and documented the structural principles of the building

coordinated, planned, implemented and checked construction.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

NCC:

performance requirements and general requirements

performance solutions and assessment methods

performance hierarchy

evidence of suitability for building materials and products

classes of building and types of construction

project documentation:

approval project plans and specifications

structural designs and specifications

engineer’s footing design and specifications

registered plans

contour site plan

geotechnical report

underpinning, rock anchors and shoring design and specifications

retaining wall and tanking design and specifications

structural, floor, wall and roof systems

causes and implications of structural defects related to failure of applying structural principles to class 10 buildings

extent of remedial work required for various defects cause by inadequate design and application of structural principles

current building and construction codes and Australian Standards relevant to Class 10 building construction

standards and codes for timber framing

footing systems:

bored pier footings

columns or stumps

concrete slab floors

reinforced piers and beams

drilled and driven piles

mass concrete piers

screw piles

waffle pod slabs

brick bases

floor system and components:

slab on ground concrete floors

engineered floor joists

platform floor construction

fitted (cut-in) floors

compressed sheet wet area flooring

sheet flooring

autoclaved aerated concrete (AAC) panel systems

AAC floor and wall systems

structural principles:

behaviour of structural materials

dead, live and wind loads

section properties

solution of force systems

wind bracing

structural wall systems:

composite walls featuring tilt-up slab, engineered timber products and lightweight AAC

framed walls incorporating timber, engineered timber products and lightweight section steel

masonry walls incorporating cavity brick, single-leaf masonry and AAC

workplace policies and procedures, quality systems, best practice approaches, and safety requirements

workplace quality documentation:

policies and procedures

workplace procedures, workplace safety and environmental requirements

various construction contracts

structural roof systems:

timber and metal pre-fabricated trusses

hand cut timber

roof types:

box gable

dual pitch

Dutch gable and Dutch hip

gable end

hip and valley

north light

skillion

rafter and purlin

accepted industry practices

roof cladding:

concrete, clay and metal tiles

shakes and shingles

short and long run, various profile and metal sheeting

wall cladding:

weather boards

coatings over base materials

corrugated metal sheeting

fibre cement and compressed wood panelling

tilt-up slab

unfired and fired AAC masonry.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

construction drawings, site plans and specifications

software and hardware to source and document information

specifications:

NCC Volume 2

current building and construction codes and Australian Standards relevant to Class 10 building construction

workplace policies and procedures, and quality procedures relevant to class 10 building construction

construction material manufacturer specifications

relationships:

design and building construction professionals

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72