# AHCLSK227 Monitor water supplies

Release: 1

AHCLSK227 Monitor water supplies

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Release 11.0. |

# Application

This unit of competency describes the skills and knowledge required to monitor the supply of potable water for livestock from water storages and sources.

The unit applies to individuals who work under general supervision and exercise limited autonomy with some accountability for their own work. They identify and provide solutions to a limited range of predictable problems.

All work must be carried out to comply with workplace procedures, according to state/territory health and safety regulations, legislation and standards that apply to the workplace, and sustainability and biosecurity practices.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Livestock (LSK)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Monitor water supplies | 1.1 Inspect water supplies routinely 1.2 Recognise high and low water levels and report to supervisor 1.3 Identify and report water quality problems to supervisor 1.4 Record and report information on water supplies |
| 2. Inspect and clear intake and outlet points | 2.1 Inspect intakes and outlets 2.2 Report potential blockages and clear actual blockages 2.3 Check and replace water filters as required 2.4 Reposition intake lines as necessary to ensure unobstructed suction 2.5 Clear debris and sludge from strainers |
| 3. Operate water delivery equipment | 3.1 Identify workplace health and safety hazards and report to supervisor 3.2 Prepare and check water delivery equipment 3.3 Operate water delivery equipment 3.4 Check outflow to ensure water delivery equipment is operating correctly 3.5 Shut down water delivery equipment as required 3.6 Report work outcomes and water delivery equipment performance, and faults, wear or damage of equipment to supervisor |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Writing | Use clear language, accurate industry terminology and logical structure to record water supply information |
| Oral communication | Use clear language to report malfunctions, faults, wear or damage to equipment Respond to questions and clarify information |
| Numeracy | Interpret basic mathematical information in charts, tables or workplace documents Use basic mathematical processes required for the treatment of water quality issues |

# Unit Mapping Information

| Code and title current release | Code and title previous release | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCLSK227 Monitor water supplies | AHCLSK209 Monitor water supplies | Minor changes to application Minor changes to elements and performance criteria Foundation skills added Assessment requirements updated | Equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72