# Assessment Requirements for AHCLSK305 Maintain livestock water supplies

Release: 1

Assessment Requirements for AHCLSK305 Maintain livestock water supplies

# Modification History

| Release Number | TP Version | Comments |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

identify hazards and implement safe work procedures

estimate water requirements based on average and peak demand for water

test and monitor machinery and equipment for correct operation and recognise minor faults and report major faults

identify the components of a range of water supply systems

arrange water supply system components and materials

use hand and power tools safely

carry out routine servicing and minor repairs on a range of water supply systems and equipment

work as part of a contract team as required

demonstrate safe and positive environmental working practices

test water quality as directed

read and interpret a water supply plan

measure and calculate lubrication requirements

apply relevant work health and safety requirements

# Knowledge Evidence

The candidate must demonstrate knowledge of:

livestock requirements and average and peak demand for water

operational principles of various pumps and pumping systems

functions and components of a range of water supply systems

operation and maintenance of diesel and petrol engines

factors which affect water quality, various water contaminants and remedial action

advantages and disadvantages of different types of water supply systems

State and Territory work health and safety legislative requirements relevant to the job role

relevant legislative requirements with regard to property water supply systems

environmental code of practices associated with maintenance activities.

# Assessment Conditions

Competency is to be assessed in the work place or workplace and simulated environments that accurately reflect performance in a real workplace setting.

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72