# Assessment Requirements for AHCLSK347 Maintain livestock water supplies

Release: 1

Assessment Requirements for AHCLSK347 Maintain livestock water supplies

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Release 11.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has maintained livestock water supplies on at least two occasions, and has:

applied relevant workplace health and safety and environment and biosecurity legislation, regulations and workplace procedures

recognised and reported workplace health and safety hazards and used safe work practices

estimated water requirements based on average and peak demand for water

tested and monitored machinery and equipment for correct operation and recognised minor faults and reported major faults

identified the components of a range of water supply systems

arranged water supply system components and materials

used hand and power tools safely

carried out routine servicing and minor repairs of water supply systems and equipment

read and interpreted a water supply maintenance plan

measured and calculated lubrication requirements.

# Knowledge Evidence

An individual must be able to demonstrate knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace requirements applicable to health and safety in the workplace for maintaining livestock water supplies, including appropriate use of personal protective equipment (PPE)

environment and biosecurity legislation and regulations and workplace practices relevant to maintaining livestock water supplies

principles and practices for maintaining livestock water supplies, including:

livestock requirements and average and peak demand for water

operational principles of various pumps and pumping systems

functions and components of a range of water supply systems

operation and maintenance of diesel and petrol engines

operation and maintenance of solar power systems

factors that affect water quality, various water contaminants and remedial action

advantages and disadvantages of different types of water supply systems

relevant legislative requirements with regard to property water supply systems.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

work instructions and workplace procedures applicable to maintaining livestock water supplies

tools, equipment and materials applicable to maintaining livestock water supplies

PPE applicable to maintaining livestock water supplies

specifications:

workplace requirements applicable to health and safety in the workplace for maintaining livestock water supplies

environment and biosecurity legislation and regulations and workplace practices applicable to maintaining livestock water supplies

industry standards, legislation and codes of practice and procedures for maintaining livestock water supplies

relationships:

supervisor

time frames:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72