# Assessment Requirements for AHCLSK360 Service and repair bores and windmills

Release: 1

Assessment Requirements for AHCLSK360 Service and repair bores and windmills

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Release 11.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has serviced and repaired bores and windmills on at least one occasion, and has:

applied relevant workplace health and safety and environment and biosecurity legislation, regulations and workplace procedures

recognised and reported workplace health and safety hazards and used safe work practices

applied basic diagnostic techniques

recognised faults and deterioration of components and carried out repairs to bore, mill heads and pumps to ensure the full function and flow of water supplies

selected and matched tools and equipment with work requirements

read and interpreted workplace policy, maintenance plans, manufacturer specifications and Safety Data Sheets (SDSs)

effectively communicated with contractors and supervisor, and recorded and reported maintenance details and outcomes

calculated volumes, and measured speed, flow rates and distance

maintained all components of bores and windmills

carried out testing procedures to determine correct operation

referred to bore histories for troubleshooting.

# Knowledge Evidence

An individual must be able to demonstrate knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace requirements applicable to health and safety in the workplace for servicing and repairing bores and windmills, including appropriate use of personal protective equipment (PPE)

environment and biosecurity legislation and regulations and workplace practices relevant to servicing and repairing bores and windmills

principles and practices for servicing and repairing bores and windmills, including:

construction of bores and windmills and maintenance requirements

diesel engine components, maintenance requirements and repair procedures

working principles of diesel engines

drive systems and components

types and uses of lubricants and other servicing materials

servicing characteristics of bores and windmills

types, characteristics, uses and limitations of hand and power tools

basic diagnostic processes and techniques.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

work instructions and workplace procedures applicable to servicing and repairing bores and windmills

tools, equipment and materials applicable to servicing and repairing bores and windmills

PPE applicable to servicing and repairing bores and windmills

specifications:

workplace requirements applicable to health and safety in the workplace for servicing and repairing bores and windmills

environment and biosecurity legislation and regulations and workplace practices applicable to servicing and repairing bores and windmills

manufacturer specifications for bores and windmills

relationships:

contractors and supervisor

time frames:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72