# Assessment Requirements for AHCMKH403 Design and install enterprise milk cooling and storage

Release: 1

Assessment Requirements for AHCMKH403 Design and install enterprise milk cooling and storage

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

determine cooling and storage system requirements

determine milk pre-cooling requirements

determine milk storage requirements

install milk cooling and storage equipment

operate and maintain milk cooling and storage equipment

implement enterprise work health and safety policies

# Knowledge Evidence

The candidate must demonstrate knowledge of:

relevant requirements and industry standards for design, planning, installing and operating milk cooling and milk storage systems

types, functions, cleaning, operating, monitoring and maintenance of milk cooling and milk storage systems and all components

requirements, components and considerations for designing, planning, siting and installing milk cooling and milk storage systems and their components, and to meet the needs of the enterprise

requirements, criteria and assessment methods for determining water quality and the impacts of water quality on maintenance and performance of milk cooling and milk storage systems

possible faults, problems and poor performance with milk cooling and milk storage systems and their components, impacts on enterprise operations and corrective actions for these faults and problems

criteria and methods for assessing performance of milk cooling and milk storage systems and their components

requirements and assessment methods for determining enterprise milk production levels

relevant work health and safety requirements

# Assessment Conditions

Competency is to be assessed in the workplace and/or simulated environment that accurately reflects performance in a real workplace setting.

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72