# Assessment Requirements for AHCPER309 Install and maintain permaculture water systems

Release: 1

Assessment Requirements for AHCPER309 Install and maintain permaculture water systems

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

organise resources for installation work

set out and prepare site

install permaculture water systems materials and components, excluding works requiring a licensed plumber.

commission a permaculture water system

monitor and maintain permaculture water systems

communicate with work team members, supervisors, contractors and consultants

# Knowledge Evidence

The candidate must demonstrate knowledge of:

permaculture practices regarding water including natural flows, rainwater and wastewater, storage, movement and retention of water in the system

permaculture water systems, such as:

swales

contour banks

terraces

mulch-pit paths

diversion channels and other passive installations

mains pressure systems

low pressure or gravity systems

below-ground systems

above-ground systems

spray, dripper and capillary irrigation systems

water tanks

guttering and first-flush diversion system

water supply components, such as:

mains

dam

bore

windmill

tank

channel

understanding of contours

installation methods and techniques for permaculture water systems

components of permaculture water systems

characteristics and operation of joints, valves and sprinkler components

operation of pumps and water flow rates

behaviour of water on varying terrain and soil types

soil water retention testing techniques

water quality and water filtration techniques

calculations for installing permaculture water systems

soil characteristics

regulations and legislative requirements, such as:

permits for pruning or removal of large trees

connecting to water systems

licences for operating specialised machinery, such as chainsaws, skid steer loaders and forklifts

setting up traffic and pedestrian barriers

digging near services (phone, gas, power, water, sewerage and drains)

installing dams or diverting water in catchments

installing tanks

planning acts and codes

earth movement and digging guidelines and legislation

environmental legislation

land restoration codes

water conservation guidelines and legislation

soil movement regulations

habitat and wildlife protection legislation

# Assessment Conditions

Assessors must satisfy current standards for RTOs. Assessors must also hold a nationally accredited Certificate III (or higher) in Permaculture. Completion of a Permaculture Design Course (PDC) is not sufficient at this level.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72