# AHCPER326 Install and maintain permaculture water management systems

Release: 1

AHCPER326 Install and maintain permaculture water management systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 9.0. |

# Application

This unit provides the skills and knowledge to install and maintain permaculture water capture, storage and distribution systems for a permaculture site.

The unit applies to individuals who work under broad direction and take responsibility for their own work, including limited responsibility for the work of others. They use discretion and judgement in the selection and use of available resources, and complete routine activities.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Permaculture (PER)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan the installation of water management system | 1.1 Identify site and water management components from permaculture water management plan 1.2 Estimate water demand for permaculture system and verify against water management plan specifications 1.3 Check source of water to ensure compatibility with system design and specifications 1.4 Verify compliance with legislative and regulatory requirements specified in water management plan 1.5 Report or rectify discrepancies in water system design according to workplace procedures 1.6 Identify hazards, assess risks and implement controls according to workplace health and safety procedures 1.7 Identify above and below ground services and implement controls to protect services |
| 2. Prepare for water management system installation | 2.1 Prepare site for installation works according to workplace health and safety procedures 2.2 Determine water management system components from water management design 2.3 Identify, select and prepare materials required to construct water management system according to design 2.4 Identify, select and prepare tools, equipment and machinery according to manufacturer instructions 2.5 Survey site and mark out location for water system components according to plans 2.6 Identify and locate on-site impediments to excavation works 2.7 Schedule and monitor work team according to planned activities |
| 3. Install permaculture water systems | 3.1 Conduct excavation works according to water management plan specifications 3.2 Install water capture system according to water management plan 3.3 Install water storage system according to water management plan 3.4 Install water distribution system according to water management plan 3.5 Install water treatment systems according to water management plan 3.6 Ensure installation works comply with legislative and regulatory requirements 3.7 Finalise site earthworks according to specifications |
| 4. Complete installation work | 4.1 Check configuration and capacity of system against plans and specification, and report or rectify discrepancies 4.2 Clean and restore site and dispose of waste according to workplace environmental procedures 4.3 Clean, maintain and store tools, equipment and machinery |
| 5. Commission permaculture water systems | 5.1 Test water distribution system for adequate flow and pressure according to system design specification and manufacturer instructions 5.2 Identify and rectify operating faults according to manufacturer instructions 5.3 Test, calibrate and monitor equipment according to manufacturer specifications 5.4 Record or report work outcomes according to workplace procedures |
| 6. Monitor and maintain permaculture water systems | 6.1 Check permaculture water systems and monitor for optimum performance according to maintenance schedule 6.2 Repair and maintain permaculture water systems where optimum performance is lacking 6.3 Maintain water treatment, erosion and sediment controls according to system design and installed components |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret water management plans, specifications and other documentation, and consolidate information to determine requirements for installation and management of water system |
| Numeracy | Take measurements of water usage and calculate estimates of water storage requirements Make calculations appropriate for measuring and estimating materials for construction of water storage and distribution, including pipe sizing, flow rates and pressures |
| Oral communication | Clearly explain detailed information on installation of water system design to work team using appropriate language, tone and pace |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCPER326 Install and maintain permaculture water management systems | AHCPER309 Install and maintain permaculture water systems | Title change to clarify intent Changes to Application for clarity Restructured Elements and Performance Criteria and removed irrigation system installation to better reflect water management outcomes Changes to Performance Evidence, Knowledge Evidence and Assessment Conditions for clarity Addition of Foundation Skills | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCPER326 Install and maintain permaculture water management systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 9.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has:

organised resources for installation work

set out and prepared site

installed permaculture water systems materials and components, excluding works requiring a licensed plumber

installed a water capture system, which must include any one of the following:

swales

contour banks or terraces

mulch-pit paths

diversion channels or other passive installation

roof and gutter system

installed and prepared access to a water storage system, which must include any one of the following:

dam

well or ground water

water tank or bladder

installed and prepared access to a water distribution system, integrated with the storage system, which must include any one of the following:

pump

gravity or syphon system

channels

bores

hand distribution system

installed water treatment system according to permaculture water system design

adjusted water distribution system to deliver water according to system specifications and permaculture plan

commissioned a permaculture water system

monitored and maintained permaculture water systems.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

permaculture practices regarding water, including natural flows, rainwater and wastewater, storage, movement and retention of water in the system

permaculture water capture systems and their access or installation, including:

natural water supply, including rivers, streams, ground water and springs

swales

contour banks

terraces

mulch-pit paths

diversion channels and other passive installations

low pressure or gravity systems

guttering and first-flush diversion system

wicking beds

permaculture water storage systems, including:

town mains water supply

water table and wells

dams

tanks and bladders

permaculture water distribution systems:

pumps and pumping

gravity and syphon systems

above and below ground pipes

channels

bores

windmill

mains pressure

contours and influence on water flow, percolation and erosion

installation methods and techniques for permaculture water storage systems

operation of pumps and water flow rates, including friction losses in pipes

behaviour of water on varying terrain and soil types

water quality and water filtration techniques, including:

course contaminants and debris

biological contaminants

chemical contaminants

basic desalination techniques

calculations for installing permaculture water systems

soil characteristics and water retention

water legislative and regulatory requirements, including:

accessing natural water systems

connecting to mains water

installing dams or diverting water in catchments

water use and conservation

local government and planning acts and codes, including:

building regulations

installing tanks

licencing for plumbing installations to town water

environmental and biosecurity legislation and regulations, including:

permits for pruning or removal of large trees

earth movement and digging guidelines and legislation

land restoration codes

soil movement regulations

habitat and wildlife protection legislation

workplace health and safety, including:

licences for operating specialised machinery

setting up traffic and pedestrian barriers

overhead services

digging near services, including phone, gas, power, water, sewerage and drains.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated on a permaculture site or an environment that accurately represents workplace conditions

resources, equipment and materials:

tools, equipment and machinery for permaculture water system installation and maintenance

personal protective equipment

materials and consumables for construction and installation works

specifications:

workplace procedures

manufacturer operating instructions for equipment and machinery

installation instructions for components

plan and design specifications

specific legislation and regulations

relationships:

stakeholders

work team.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72