# Assessment Requirements for AHCPGD305 Conduct operational inspection of park facilities

Release: 1

Assessment Requirements for AHCPGD305 Conduct operational inspection of park facilities

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting.

The candidate must provide evidence that they can:

determine the purpose of the inspection and the facilities and equipment to be inspected and tested

carry out pre-operational and safety checks on tools and equipment

clarify specific terminology used in checklists with the supervisor

identify workplace health and safety hazard, assess risks and implement controls

interpret design symbols and terminology

compare actual measurements of inspected components with legal, workplace health and safety and/or enterprise standards and specifications

determine the degree of urgency to report serious situations

evaluate the condition of facilities

use proforma reporting and work procedure documents

# Knowledge Evidence

The candidate must demonstrate knowledge of:

different modes of non-conformity that may be identified in reference to relevant Australian Standards and work health and safety requirements

identification, assessment and control of hazards

inspection procedures and techniques, and legal and enterprise reporting requirements for maintenance, repair and replacement recommendations

principles and practices of park facility operational inspections

terminology used to describe different components of park or recreational facilities and equipment

operational expectations and enterprise standards for the presentation and working order of a range of park or recreational facilities and equipment

the range, use and safety parameters of park or recreational facilities and equipment, their material construction and maintenance requirements

work health and safety legislative requirements and codes of practice associated with public use of park facilities

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72