# AHCPGD305 Conduct operational inspection of park facilities

Release: 1

AHCPGD305 Conduct operational inspection of park facilities

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency describes the skills and knowledge required to inspect park or recreational facilities to identify hazards, existing and potential risks and non-conformities with Australian Standards and workplace health and safety requirements.

It applies to individuals who take responsibility for their own work and for the quality of the work of others. They use discretion and judgement in the selection, allocation and use of available resources. All work is carried out to comply with workplace procedures.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Parks and gardens (PGD)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for operational inspection | 1.1 Determine, from the operational request, the specific facilities and equipment to be inspected and purpose of the inspection 1.2 Select required tools and equipment for testing and inspection 1.3 Carry out pre-operational and safety checks on tools and equipment 1.4 Prepare appropriate checklists and reporting formats to suit the application 1.5 Identify the different types of facilities from checklist descriptions 1.6 Clarify specific terminology used in checklists with the supervisor 1.7 Identify workplace health and safety hazards, assess risks and implement controls 1.8 Select and use appropriate personal protective equipment (PPE) |
| 2. Undertake operational inspection | 2.1 Identify and record modes of non-conformity with Australian Standards, work health and safety guidelines and enterprise standards 2.2 Identify and record hazards and indications and signs of hidden faults 2.3 Ensure checklist entries are concise and accurate |
| 3. Finalise the park inspection | 3.1 Report to supervisors situations requiring urgent action or closure of facilities 3.2 Note recommendations to rectify non-conformities, as required 3.3 Complete an inspection report and submit to the client or supervisor |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This unit is equivalent to AHCPGD305A Conduct operational inspection of park facilities.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72