# Assessment Requirements for AHCPGD311 Conduct operational inspection of park facilities

Release: 1

Assessment Requirements for AHCPGD311 Conduct operational inspection of park facilities

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has conducted an operational inspection of two different park facilities and has:

determined the purpose of the inspection and the facilities and equipment to be inspected and tested

applied workplace health and safety requirements, including fitted and used personal protective equipment (PPE)

selected, used and maintained tools and equipment required for operational testing and inspection of park facilities

clarified specific terminology used in checklists with the supervisor

compared actual measurements of inspected components with Australian standards, workplace health and safety requirements, and workplace specifications

evaluated the condition of facilities

determined and reported urgent and serious situations

completed and submitted proforma inspection report, photographs and workplace procedure documents.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles and practices of park facility operational inspection, including:

different areas of non-conformity that may be identified in relevant Australian standards and health and safety in the workplace requirements

identification, assessment and control of hazards

inspection procedures and techniques, and workplace reporting requirements for maintenance, repair and replacement recommendations

principles and practices of park facility operational inspections

terminology used to describe different components of park or recreational facilities and equipment

operational expectations and workplace requirements for the presentation and working order priorities of a range of park or recreational facilities and equipment

the range, use and safety parameters of park or recreational facilities and equipment, their material construction and maintenance requirements

legislative requirements and codes of practice applicable to public use of park facilities

workplace requirements applicable to health and safety in the workplace for conducting an operational inspection of park facilities, including appropriate use of PPE.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represent workplace conditions

resources, equipment and materials:

workplace procedures applicable to conducting an operational inspection of park facilities

materials, tools and equipment applicable to conducting an operational inspection of park facilities

checklists, forms and inspection report proformas applicable to conducting an operational inspection of park facilities

photographic device

PPE applicable to conducting an operational inspection of park facilities

specifications:

workplace requirements applicable to health and safety in the workplace for conducting an operational inspection of park facilities

workplace requirements and Australian standards applicable to park facilities and conducting an operational inspection of park facilities

legislation and codes of practice applicable to public use of park facilities and conducting an operational inspection of park facilities

relationships:

client or supervisor

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72