# AHCSDT303 Perform a fluorescence test on seeds

Release: 1

AHCSDT303 Perform a fluorescence test on seeds

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency describes the skills and knowledge required to perform tests that determine the presence of seeds of annual ryegrass species in seedlots of perennial ryegrass. It applies to seed analysts working within enterprise requirements and procedures.

It applies to individuals who take responsibility for their own work and for the quality of the work of others. They use discretion and judgement in the selection, allocation and use of available resources. All work is carried out to comply with workplace procedures.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Seed testing (SDT)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for a fluorescence test | 1.1 Identify seed to be tested and complete records 1.2 Prepare working sample from submitted sample 1.3 Prepare the required number of replicates of 100 seeds 1.4 Prepare substrate as prescribed for a germination test using dormancy breaking treatments if necessary 1.5 Place replicates in a germination cabinet/room |
| 2. Assess germinated seeds | 2.1 Count off and record all un-germinated seeds and abnormal seedlings 2.2 Examine normal seedlings under ultra violet light 2.3 Count off and record normal seedlings that have fluorescent roots under ultra violet light 2.4 Count off and record normal seedlings that do not have fluorescent roots under ultra violet light 2.5 Minimise exposure of bare skin to ultra violet light 2.6 Complete enterprise worksheet |
| 3. Maintain a safe work environment | 3.1 Record, calculate and report results of test 3.2 Collect and dispose of laboratory and hazardous waste safely 3.3 Clean and store apparatus and equipment |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This unit is equivalent to AHCSDT303A Perform a fluorescence test on seeds.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72

Assessment Requirements for AHCSDT303 Perform a fluorescence test on seeds

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

prepare for a fluorescence test

assess seedlings using ultra violet light

count and record test results

prepare replicates from working sample

test to determine the presence of seeds of annual ryegrass species in perennial ryegrass seedlots

maintain a safe work environment

# Knowledge Evidence

The candidate must demonstrate knowledge of:

enterprise and/or legal traceability requirements

enterprise standard operating procedures (SOPs)

fluorescence testing procedures

relevant work health, safety and environment requirements

seed biology

the role of the International Seed Testing Association (ISTA) and the ISTA Rules for Seed Testing

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72