# Assessment Requirements for AHCSDT305 Perform a seed moisture test

Release: 1

Assessment Requirements for AHCSDT305 Perform a seed moisture test

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

calculate weights and percentages

cut and grind seeds

determine the moisture content of seeds for routine use by an oven method

prepare working samples

weigh containers and seed samples

calculate and report results

# Knowledge Evidence

The candidate must demonstrate knowledge of:

apparatus used in seed moisture testing

enterprise and/or legal traceability requirements

enterprise standard operating procedures (SOPs)

relevant health, safety and environment requirements

the role of the International Seed Testing Association (ISTA) and the ISTA Rules for Seed Testing

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72