# AHCSDT309 Prepare a working sample

Release: 1

AHCSDT309 Prepare a working sample

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 7.0. |

# Application

This unit of competency describes the skills and knowledge required to receive a sample of seed, reduce the sample for testing and store the working sample to maintain its quality.

The unit applies to individuals who take responsibility for their own work and for the quality of the work of others. They use discretion and judgement in the selection, allocation and use of available resources. All work is carried out to comply with workplace procedures.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Seed Testing (SDT)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Receive submitted sample | 1.1 Receive submitted sample and verify documentation 1.2 Assess sample for compliance with documentation and laboratory standards and report inconsistencies to supervisor 1.3 Label sample and update records according to workplace procedures and industry standards 1.4 Prepare submitted sample for testing according to timeframes specified in workplace procedures and documentation 1.5 Handle and store submitted sample according to workplace procedures and industry specifications for species |
| 2. Reduce sample | 2.1 Check working area and equipment is clean and free of contaminants 2.2 Identify and use equipment suitable for dividing samples according to workplace procedures and industry specifications for species 2.3 Reduce sample size to equal or greater than required working sample according to workplace and industry procedures 2.4 Package working sample for testing according to procedures 2.5 Update sample labelling and records according to workplace procedures and industry specifications |
| 3. Store working sample after testing | 3.1 Receive tested samples and verify records and labels before storing 3.2 Handle samples according to workplace guidelines where live insects have been detected before storage 3.3 Store samples after testing in environmental conditions that minimise changes in seed quality traits |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Writing | Document samples and labels accurately using industry standards formatting and language |
| Numeracy | Calculate seed quantities and sample sizes accurately |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCSDT309 Prepare a working sample | AHCSDT301 Prepare a working sample | Edited Application for clarity Minor changes to Performance Criteria for clarity Foundation Skills refined Performance Evidence and Knowledge Evidence clarified Amended structure of Assessment Conditions | Equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72