# Assessment Requirements for AHCSDT408 Perform an electrophoresis test on a seed sample

Release: 1

Assessment Requirements for AHCSDT408 Perform an electrophoresis test on a seed sample

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

extract seed and prepare gel

centrifuge seed and gel mixes

interpret stain bands and patterns

test seed by separating proteins of varying size and/or electric charge

enter data into laboratory information management system

maintain confidentiality and security of information and data

# Knowledge Evidence

The candidate must demonstrate knowledge of:

enterprise standard operating procedures (SOPs)

materials and apparatus used in electrophoresis testing

principles of electrophoresis

range of electrophoresis testing procedures

relevant health, safety and environment requirements

seed biology

the role of the International Seed Testing Association (ISTA) and the ISTA Rules for Seed Testing

using stain patterns and ‘fingerprints’ to determine seed variety

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72