# Assessment Requirements for AHCWAT301 Monitor and operate water treatment processes

Release: 1

Assessment Requirements for AHCWAT301 Monitor and operate water treatment processes

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Performance Evidence

The candidate must be assessed on their ability to integrate and apply the performance requirements of this unit in a workplace setting. Performance must be demonstrated consistently over time and in a suitable range of contexts.

The candidate must provide evidence that they can:

identify adverse environmental impacts of irrigation activities and appropriate remedial action

identify control system faults

identify hazards and implement safe work procedures

prepare and apply chemical dosing

use water sampling and testing techniques

# Knowledge Evidence

The candidate must demonstrate knowledge of:

principles and practices for monitoring and operating water treatment processes

chemical dosing processes

environmental impacts of irrigation using water from any ground or underground source

environmental issues associated with water treatment

hazardous materials handling

water quality monitoring methods and techniques

water treatment and water filtration techniques

work health and safety procedures relating to the operation of machinery and the use of chemicals

# Assessment Conditions

Assessors must satisfy current standards for RTOs.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72