# AHCWAT301 Monitor and operate water treatment processes

Release: 1

AHCWAT301 Monitor and operate water treatment processes

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AHCv1.0 | Initial release |

# Application

This unit of competency describes the skills and knowledge required to monitor, operate, measure, adjust and report water (including waste water) treatment performance and process control.

It applies to individuals who take responsibility for their own work and for the quality of the work of others. They use discretion and judgement in the selection, allocation and use of available resources. All work is carried out to comply with workplace procedures.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Water (WAT)

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan and prepare for work | 1.1 Identify work plans and clarify with supervisor 1.2 Select and carry out pre-operational and safety checks on tools, equipment and machinery 1.3 Identify work health and safety hazards, assess risks and implement suitable controls 1.4 Select, use and maintain suitable safety and personal protective equipment |
| 2. Monitor water treatment plant performance | 2.1 Conduct routine inspections of treatment equipment 2.2 Collect water samples and conduct standard tests or send samples for analysis where required by the biosecurity and food safety codes 2.3 Collect data on treatment process and record and report in appropriate manner |
| 3. Control chemical use | 3.1 Use, handle and store chemicals appropriately 3.2 Prepare chemical dosing 3.3 Maintain information related to chemical supply and usage |
| 4. Operate and control water treatment processes | 4.1 Monitor water and waste water treatment processes to maintain parameters of operation 4.2 Identify and report process faults and operational conditions of treatment equipment 4.3 Initiate basic equipment and process adjustments to enhance performance |
| 5. Complete work | 5.1 Compile reports from equipment and water treatment processes 5.2 Clean and store tools and equipment |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This unit is equivalent to AHCWAT301A Monitor and operate water treatment processes.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72