# Assessment Requirements for AHCWAT302 Monitor and operate water treatment processes

Release: 1

Assessment Requirements for AHCWAT302 Monitor and operate water treatment processes

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 6.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has monitored and operated water treatment processes on at least two occasions, and has:

applied workplace health and safety requirements applicable to monitoring and operating water treatment processes

applied food safety codes, environmental and biosecurity practices and workplace procedures applicable to monitoring and operating water treatment processes

used water sampling and testing techniques

recorded and reported equipment and water treatment processes according to workplace procedures

prepared and applied chemicals

identified and reported process faults

minimised environmental impacts of water treatment processes.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

workplace health and safety requirements applicable to monitoring and operating water treatment processes

food safety codes, environmental and biosecurity practices and workplace procedures applicable to monitoring and operating water treatment processes

workplace recording and reporting procedures

the principles and practices for monitoring and operating water treatment processes, including:

chemical dosing processes

environmental impacts of irrigation using water from any ground or underground source

environmental issues associated with water treatment

hazardous materials handling

water quality monitoring methods and techniques

water treatment and water filtration techniques.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

water treatment tools, equipment and machinery

water treatment testing equipment and chemicals

personal protective equipment applicable to monitoring and operating water treatment processes

principles and practices for monitoring and operating water treatment processes

specifications:

workplace health and safety requirements applicable to monitoring and operating water treatment processes

food safety codes, environmental and biosecurity practices and workplace procedures applicable to monitoring and operating water treatment processes

workplace recording and reporting procedures

relationships:

supervisor

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72