# AHCWAT303 Access, extract and monitor water for irrigation

Release: 1

AHCWAT303 Access, extract and monitor water for irrigation

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 8.0. |

# Application

This unit of competency describes the skills and knowledge required to identify and analyse common water holding licences and/or accounts that are used to access and extract irrigation water, including water attached to entitlements and/or water that is available on the temporary market. It also includes implementing water deliveries and end of season review. Irrigators may own and operate their own infrastructure (private diverters) and/or access water via infrastructure within an irrigation network.

The unit applies to workers who apply knowledge and skills to access and take delivery of water onto properties for agricultural use. They monitor the environment and use judgement to access water and follow up water extraction and use. The unit applies to irrigators and other agricultural workers that operate autonomously, coordinate activities, solve predictable and unpredictable problems and take responsibility for the success of their crops and/or livestock. It may also apply to the access and extraction of water for other sectors.

Commonwealth and state/territory and regional/local legislation, regulations and rules apply to the access, extraction and use of water. Requirements vary between jurisdictions.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Water (WAT)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Determine regulatory requirements for water licences and/or access accounts | 1.1 Confirm water sources available to the property to be irrigated and identify the authorities that manage and/or regulate water sources and delivery infrastructure 1.2 Identify water system to be used and associated regulations 1.3 Identify water licences and/or water account types that may be used to access and extract water for irrigation for the property 1.4 Identify regulations, conditions and/or other requirements related to holding and operating a water licence and/or a water account for the property 1.5 Identify, as a private diverter, water entitlements and allocations, water licence and/or water types accessible, infrastructure, delivery risks and yearly costs required to access water 1.6 Identify, as an irrigator in an irrigation network, water licence and/ or water types accessible, temporary and/ or annual water, delivery risks and yearly costs required to access water |
| 2. Implement water deliveries as a private diverter | 2.1 Confirm private diverter’s water licence and access conditions related to water share (allocation), allocation account, reporting requirements, tradeable water, potential carryover, and where and/or how the water will be used 2.2 Check pump, water meter and other infrastructure are compliant with regulatory requirements and ready for operation 2.3 Monitor weather conditions and forecasts 2.4 Confirm delivery times and prepare to extract water during time window 2.5 Extract water within licence conditions 2.6 Check metering, complete reporting if required, and track overall extraction against licence conditions 2.7 Monitor water account balance and seasonal allocation announcements and ensure compliance with extraction limits 2.8 Protect pumps if required |
| 3. Implement water deliveries as part of an irrigation network | 3.1 Confirm water extraction conditions, related to water share (entitlement and/or allocation), allocation account, reporting requirements, allowable tradeable water and potential carryover, and where and/or how the water will be used 3.2 Confirm there is sufficient water in account to place order, and source additional water if required 3.3 Monitor weather conditions and forecasts 3.4 Monitor lead times and place order for water 3.5 Check meter and other water receival infrastructure is ready for operation 3.6 Confirm delivery times and prepare to extract water during time window 3.7 Extract water according to irrigation network conditions 3.8 Check metering, complete reporting if required and track overall extraction against account conditions 3.9 Confirm and complete ongoing reporting requirements |
| 4. Conduct end of season review and commence preparation for next season | 4.1 Compare actual water delivered to water ordered 4.2 Complete water delivery process confirming shut off and final automated procedures 4.3 Identify water usage trends for current season 4.4 Conduct equipment and infrastructure checks and maintenance 4.5 Complete final regulatory reporting as required 4.6 Complete end of year water balance, including any carryover |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret regulations and rules related to water trading |
| Writing | Record and report information accurately using appropriate regulatory and industry terminology |
| Oral communication | Use open and closed questions to gather information |
| Numeracy | Measure and calculate area, volume, percentage, ratio and price per megalitre (ML) Use appropriate terminology to describe water volumes, including kilolitres (KL), megalitres (ML) and gigalitres (GL) Identify and interpret trends from water market data including graphs and charts |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AHCWAT303 Access, extract and monitor water for irrigation | Not applicable | The unit has been created to address a skill or task required by industry that is not covered by an existing unit | Newly created |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72