# Assessment Requirements for AHCWAT504 Design water treatment systems

Release: 1

Assessment Requirements for AHCWAT504 Design water treatment systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 6.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has designed a water treatment system on at least one occasion, and has:

identified system design requirements

documented construction specifications, performance indicators and design calculations

collected and analysed information for the design of a water treatment system

identified adverse environmental impacts of water treatment activities, and documented appropriate remedial actions

calculated and documented capital and operating expense budgets

developed water treatment system specifications.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles and practices of water treatment system design, including:

automatic control and monitoring systems

budgeting, contractual development and obligations

design processes

developments in water treatment technology

environmental impacts of water treatment

environmental protection agency regulations

waste management and environmental issues

workplace health and safety and environmental protection legislation and regulations, codes of practice and workplace policies and procedures relevant to water treatment system design

water treatment systems, including pumping and power systems.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace setting or an environment that accurately represents workplace conditions

resources, equipment and materials:

water treatment system site

site information and data relevant to water treatment system design

specifications:

local, state and federal workplace health and safety and environmental protection legislation, regulations, codes of practice and workplace requirements applicable to water treatment system design

relationships:

local authorities, appropriately experienced and qualified person

timeframes:

according to job requirements.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72