# AMPA3137 Operate biogas facilities

Release: 1

AMPA3137 Operate biogas facilities

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AMP Meat Processing Training Package Version 4.0 |

# Application

This unit of competency describes the skills and knowledge required to operate biogas facilities, including monitoring processes and identifying faults or unusual activity within the system.

The unit applies to individuals with responsibility for the day-to-day operation of a biogas facility.

Those undertaking this unit would work under supervision, while performing routine tasks within a range of familiar contexts.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Abattoirs

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Inspect biogas facilities | 1.1 Inspect biogas facilities each shift and record and monitor results 1.2 Collect process samples and conduct standard tests 1.3 Identify, record and report any faults in the biogas system 1.4 Follow work health and safety (WHS) requirements and work instructions |
| 2. Complete documentation | 2.1 Collect, interpret and record process data according to workplace requirements 2.2. Log any unusual aspects identified in the biogas system |
| 3. Operate safely when working in biogas facilities | 3.1 Select and check equipment and tools required to meet safety requirements of site and task 3.2 Select, fit and use personal protective equipment 3.3 Follow safe operating procedures to protect biogas system infrastructure 3.4 Follow safe operating practices when working on and near covered anaerobic lagoon (CAL) covers including biogas transmission lines and storage 3.5 Follow and implements the site’s Safety Management Plan |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Reads and interprets workplace instructions and standard operating procedures |
| Writing | Completes records and logs correctly |
| Communication | Communicates with supervisors to notify faults |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AMPA3137 Operate biogas facilities | Not applicable | New unit | No equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5e2e56b7-698f-4822-84bb-25adbb8443a7