# AMPA415 Manage biogas facilities

Release: 1

AMPA415 Manage biogas facilities

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AMP Meat Processing Training Package Version 4.0. |

# Application

This unit of competency describes the skills and knowledge required to evaluate and optimise the performance of a biogas facility.

The unit applies to individuals who are responsible for managing the process of capturing and utilising biogas as an energy source.

Those undertaking this unit would work autonomously and have responsibility for the performance and ongoing efficient operation of a biogas facility.

All work must be carried out to comply with workplace procedures, according to state/territory health and safety regulations, legislation and standards that apply to the workplace.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Abattoirs

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Identify workplace biogas requirements | 1.1 Identify biogas requirements for all relevant areas of the workplace 1.2 Determine workplace’s ongoing biogas production capability and usage using agreed benchmarks 1.3 Analyse performance data and use to identify trends in workplace requirements |
| 2. Monitor and control performance of biogas system | 2.1 Establish performance standards and indicators using agreed benchmarks and best practice methods 2.2 Monitor impact of upstream conditions on biogas system 2.3 Develop and maintain record keeping systems |
| 3. Comply with regulatory requirements for biogas facilities | 3.1 Comply with the appropriate state regulations governing gas fuel and odour emissions 3.2 Meet the requirements of the relevant licensing agreements for biogas facilities 3.3 Follow work health and safety (WHS) regulations for hazards concerning biogas production, storage, transport and use |
| 4. Comply with the requirements for safe design and operation of biogas facilities | 4.1 Comply with the appropriate standards governing the design and construction of biogas systems 4.2 Develop and maintain a site-specific Safety Management Plan covering the risks and management associated with a biogas system |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Comprehends standards and regulations |
| Writing | Prepares applications to meet regulatory requirements |
| Numeracy | Reads and interprets data related to biogas output and performance |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AMPA415 Manage biogas facilities | Not applicable | New unit | No equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5e2e56b7-698f-4822-84bb-25adbb8443a7