# AMPG305 Store wild game carcases

Release: 1

AMPG305 Store wild game carcases

# Modification History

| Release | TP Version | Comment |
| --- | --- | --- |
| 1 | AMPv2.0 | Initial release |

# Application

This unit describes the knowledge of the initial chill and storage requirements as well as the skills required to move wild game animal carcases safely and hygienically into and out of field depots.

This unit is applicable to workers in, and managers of field depots.

All work should be carried out to comply with workplace procedures, customer requirements and product specifications.

No occupational licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

This unit must be delivered and assessed in the context of Australian meat processing standards and regulations.

# Pre-requisite Unit

Nil.

# Unit Sector

# Elements and Performance Criteria

| Element | Performance criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Store wild game animal carcase | 1.1 Use rails according to workplace requirements to transfer wild game animal carcase into the chiller according to workplace and health and safety requirements 1.2 Identify and store carcase meat product in appropriate area according to workplace requirements 1.3 Chill and store carcase meat product at correct temperature according to workplace and regulatory requirements 1.4 Space carcases to achieve chilling and storage temperature requirements |
| 2. Perform basic refrigeration maintenance | 2.1 Perform basic troubleshooting on refrigeration units 2.2 Assess chiller operation and condition 2.3 Monitor gas levels and defrost cycles 2.4 Perform manual defrost |
| 3. Monitor wild game animal carcase temperature | 3.1 Monitor deep muscle time/temperature and record according to workplace requirements 3.2 Undertake data logger monitoring according to regulatory and company requirements 3.3 Calibrate thermometers according to workplace requirements |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

# Unit Mapping Information

This is equivalent to MTMG305A Store wild game carcases.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5e2e56b7-698f-4822-84bb-25adbb8443a7