# AMPMGT604 Manage effective operation of meat enterprise cold chain and refrigeration systems

Release: 2

AMPMGT604 Manage effective operation of meat enterprise cold chain and refrigeration systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with AMP Australian Meat Processing Training Package Version 6.0. |
| Release 1 | This version released with AMP Australian Meat Processing Training Package Version 1.0. |

# Application

This unit describes the skills and knowledge required to plan and oversee the effective operation of enterprise cold chain and refrigeration systems, ensuring product quality and food safety. It also describes ways to manage and reduce the costs of cold chain operations. Cold chain systems and operations are critical to the quality and food safety of enterprise products. Managing them efficiently will minimise production costs and facilitate regulatory compliance.

This unit is applicable to production managers, plant engineers, and Quality Assurance (QA), maintenance and chiller managers or coordinators.

At this level, individuals exercise considerable responsibility and accountability within enterprise structures and are required to make primary contributions to the values, goals and operations of the enterprise. They will typically have responsibility for establishing and reviewing systems for their site or department. They may work with the assistance of external experts to develop plans and strategies.

This unit must be delivered using Australian meat industry standards and regulations.

No licensing, legislative or certification requirements are known to apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Assess enterprise cold chain system requirements | 1.1 Analyse enterprise goals, directions and forecasts, and determine the implications for cold chain requirements 1.2 Document enterprise refrigeration systems, cold chain, operations and technical support team activities 1.3 Identify regulatory and customer requirements regarding operating and maintaining refrigeration systems 1.4 Determine enterprise requirements for accessing specialised refrigeration advice and expertise 1.5 Determine optimum refrigeration requirements to maintain quality and safety of products 1.6 Establish performance standards and targets, including those relating to food safety, cost, quality and waste |
| 2. Manage and control cold chain systems | 2.1 Develop procedures for safely and hygienically operating and maintaining refrigeration or cold chain systems according to quality, food safety and manufacturer specifications, and customer and enterprise requirements 2.2 Prepare contingency plans and procedures for systems failure or overload, and convey to relevant personnel 2.3 Prepare emergency procedures and plans, and incorporate into health and safety systems, procedures, training and work instructions 2.4 Prepare strategies for communicating and resolving system problems and failures with stakeholders |
| 3. Monitor refrigeration and cold chain system performance | 3.1 Determine and develop performance information requirements and data collection strategies 3.2 Establish and maintain monitoring procedures for operating refrigeration or cold chain systems 3.3 Investigate and report non-conformances, and implement corrective action 3.4 Develop and implement preventative and control procedures to prevent future non-conformance |
| 4. Improve refrigeration system performance | 4.1 Analyse and measure performance data against relevant performance standards, including product quality and cost requirements 4.2 Calculate and monitor energy costs of refrigeration systems 4.3 Develop and implement strategies to improve performance and minimise costs 4.4 Include refrigeration system requirements in budgets and plans |

# Foundation Skills

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AMPMGT604 Manage effective operation of meat enterprise cold chain and refrigeration systems Release 2 | AMPMGT604 Manage effective operation of meat enterprise cold chain and refrigeration systems Release 1 | Minor wording changes, assessment requirements updated | Equivalent |

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5e2e56b7-698f-4822-84bb-25adbb8443a7

Assessment Requirements for AMPMGT604 Manage effective operation of meat enterprise cold chain and refrigeration systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with AMP Australian Meat Processing Training Package Version 6.0. |
| Release 1 | This version released with AMP Australian Meat Processing Training Package Version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has, on at least one occasion:

assessed requirements for enterprise refrigeration or cold chain systems in terms of enterprise goals, directions and forecasts, detailed product knowledge and regulatory requirements

analysed and presented complex concepts, technical information, mathematical information and other data in simple or complex formats

completed hypothetical technical and financial modelling, calculations, interpretation or analysis

developed and maintained the operating system

prepared manuals and procedures for operating refrigeration systems, chillers and freezers according to hygiene, safety, quality and customer requirements, and determined corrective actions for systems variations and non-conformances

identified key personnel for the resolution and communication of systems problems and failures

maintained currency of knowledge through independent research or professional development

maintained the quality of products in the cold chain by monitoring chillers or freezers and interpreting refrigeration data to maintain appropriate temperature or humidity for product types and quantities

managed maintenance of enterprise refrigeration systems, including the negotiation and preparation of maintenance schedules; monitoring repairs; conformance with regulatory and quality requirements; and replacement requirements

managed refrigeration costs by monitoring the costs of refrigeration, including internal or external service models, maintenance costs, lost time costs, product losses and energy costs

monitored and reported system performance, including setting performance standards and measures for refrigeration system that are consistent with enterprise goals and products; analysing performance information; and making recommendations for systems improvement to include in enterprise forward planning

operated refrigeration or cold chain systems efficiently, including identifying and implementing strategies for reducing heat load in enterprise chiller or freezer; minimising energy costs; maximising availability and minimising down time; maintaining temperatures according to quality and food safety requirements

prepared safety procedures for chillers or refrigeration systems, including emergency plans and procedures for incidents and accidents associated with refrigerants (leaks and spills); and procedures for the safe and efficient operation of equipment, including forklifts and lights, in chillers and freezers

utilised information and communications technology, including statistical and modelling software for research, data collection and analysis, and reporting.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

refrigeration concepts and terms, including:

ambient temperature

Biot number: ratio of conductive (internal) resistance to heat transfer to the convective (external) resistance

half cooling time

surface heat transfer

thermal properties of meat, including conductivity

strategies for reducing heat loads, including:

air curtains

automatic door closers

improved insulation to prevent heat filtration through wall

no lights, people, machinery inside

plastic strips

removal of heat load caused by fans

impact of high and low humidity on eating quality, production and storage of meat and meat products

impact of moisture transfer during chilling and freezing on quality, production and storage of meat and meat products

impact of packaging on chilling and freezing rates of meat and meat product

concept of heat load and the implications for product quality and energy requirements for refrigeration system

methods of chilling and freezing meat and meat products, including:

air (including natural convection, forced convection and spray chilling)

air freezing

contact freezing

cryogenic (including gaseous, sold and liquid – liquid nitrogen and solid carbon dioxide)

cryogenic freezing

direct contact (including plate freezing and conduction)

direct freezing systems

liquid immersion (including chilled water or glycol solution)

the impact of chilling, chilling rates, freezing and freezing rates on quality, production and storage of meat and meat products

qualities of humidity, including changes in evaporation, pH levels, saturation humidity, saturation vapour pressure.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a meat industry workplace or an environment that accurately represents workplace conditions

resources, equipment and materials

access to appropriate technology

specifications:

access to workplace documents such as policies, procedures, processes, forms

access to specific legislation/codes of practice relevant to enterprise operations.

Methods of assessment must include:

a third-party referee report of sustained performance at appropriate level of authority and responsibility

assignment focusing on understanding and application of principles and theory to workplace operations

workplace projects with focus on company environment and conditions.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5e2e56b7-698f-4822-84bb-25adbb8443a7