# AMPQUA407 Conduct and validate pH/temperature declines to MSA standards

Release: 1

AMPQUA407 Conduct and validate pH/temperature declines to MSA standards

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AMP Australian Meat Processing Training Package Version 8.0. |

# Application

This unit covers the skills and knowledge required to accurately calibrate and maintain pH equipment, to conduct pH/temperature declines and weekly monitoring, and to validate results to ensure conformance to the pH/temperature window.

It is a licence requirement for Meat Standards Australia (MSA) workplaces to achieve the pH/temperature window.

The skills and knowledge gained from this unit will allow individuals to monitor pH or temperature window to AUS-MEAT and MSA standards. This unit is suitable for people working in quality assurance or a company grading role.

All work must be carried out to comply with workplace procedures, according to state/territory health and safety, food and meat safety regulations, legislation and standards that apply to the workplace.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Quality Assurance (QUA)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Operate and calibrate pH equipment | 1.1 Conduct calibrations on temperature measurement equipment 1.2 Conduct calibrations on pH monitoring equipment 1.3 Demonstrate correct technique for pH/temperature measurement |
| 2. Monitor the pH/temperature window of carcases | 2.1 Conduct pH/temperature checks for validation purposes, in line with AUS-MEAT standards 2.2 Collect weekly and monthly data to ensure compliance with the pH/temperature window 2.3 Ensure readings are valid and sufficient 2.4 Record and report results |
| 3. Analyse monitoring data | 3.1 Generate reports for analysis of pH/temperature monitoring 3.2 Analyse results of pH/temperature monitoring 3.3 Recognise effects of heat shortening and cold shortening 3.4 Identify pH/temperature window |
| 4. Suggest corrective action plans for non-conformance | 4.1 Identify and evaluate factors impacting on pH/temperature window conformance 4.2 Identify reasons for non-conformance 4.3 Suggest corrective actions for window non-conformance 4.4 Conduct trials to achieve window conformance |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Access and interpret MSA Standards Manual |
| Numeracy | Generate graphs of pH/temperature data Identify trends in numerical data |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| AMPQUA407 Conduct and validate pH/temperature declines to MSA standards | AMPA404 Conduct and validate pH and temperature declines to MSA standards | Unit title and code updated Performance Criteria clarified Foundation Skills added Performance Evidence, Knowledge Evidence and Assessment Conditions revised | Not equivalent |
| AMPQUA407 Conduct and validate pH/temperature declines to MSA standards | AMPA3118 Monitor pH and temperature decline | Unit merged into redesigned unit | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5e2e56b7-698f-4822-84bb-25adbb8443a7

Assessment Requirements for AMPQUA407 Conduct and validate pH/temperature declines to MSA standards

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AMP Australian Meat Processing Training Package Version 8.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has conducted and validated pH/temperature declines to Meat Standards Australia (MSA) standards, for at least one lot of carcases, including:

collected information on live animals for use in pH/temperature monitoring

conducted weekly and monthly monitoring of the pH/temperature window

observed, timed and followed carcases through the slaughter floor, recording the following:

carcase information

chiller number

immobiliser information (where relevant)

rigidity probe information (where relevant)

stimulation information (where relevant)

time entering the chiller

time stunned

analysed results to verify conformance

generated individual and lot average graphs to show pH/ temperature window conformance

operated and calibrated pH and temperature equipment

suggested corrective actions.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

the scope and nature of MSA standards

MSA Standards Manual

AUS-MEAT National Accreditation Standards

effects of extreme weather events on pH decline

impact of electrical stimulation on pH decline

impact of chilling factors on pH/temperature decline

effects of transport on pH/temperature decline

how the time it takes a carcase to reach the chiller can impact on the rate of pH decline

pH/temperature window

how cold shortening occurs and characteristics of cold shortened product

how heat shortening occurs and characteristics of heat shortened product

how other electrical inputs can impact the rate of pH decline

the impact of slaughter floor temperature on rate of pH/temperature decline

glycogen and the relationship between stress and pH

pH and its importance for eating quality.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a meat processing workplace or an environment that accurately represents workplace conditions

resources:

pH meter with thermometer and pH probe

pH and temperature calibration equipment

stopwatch

data recording and monitoring systems

specifications:

workplace procedures, including advice on safe work practices, meat safety and quality

MSA Standards Manual

AUS-MEAT National Accreditation Standards

recording requirements, documentation and procedures

timeframes:

within typical operating and production conditions for the workplace.

Assessment for this unit must include at least three forms of evidence.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5e2e56b7-698f-4822-84bb-25adbb8443a7