# Assessment Requirements for AURETK001 Identify, select and use low voltage electrical test equipment

Release: 1

Assessment Requirements for AURETK001 Identify, select and use low voltage electrical test equipment

# Modification History

| Release | Comment |
| --- | --- |
| Release 1 | New unit of competency. |

# Performance Evidence

Before competency can be determined, individuals must demonstrate they can perform the following according to the standard defined in the unit’s elements, performance criteria, range of conditions and foundation skills:

use a test light or probe to check the voltage supply at three different points of a basic low voltage (LV) electrical circuit and earth return at two different points of the circuit

use a digital multimeter to check voltage, current and resistance measurements within a basic electrical circuit

use a circuit continuity tester and test three different electrical circuits between a power source, including:

one fuse

one lamp or heating element

one motor control device.

# Knowledge Evidence

Individuals must be able to demonstrate knowledge of:

work health and safety (WHS) and occupational health and safety (OHS) requirements relating to identifying, selecting and using LV electrical test equipment, including procedures for:

selecting and using personal protective equipment (PPE)

identifying hazards and controlling risks associated with wearing jewellery while working around high current wiring systems

location and content of manufacturer specifications and workplace procedures, including:

LV test equipment selection procedures

basic checking procedures for automotive LV electrical test equipment

checking, identification and isolation procedures for faulty equipment

types, characteristics, uses and limitations of automotive LV electrical test equipment, including:

multimeters

test lights, including resistive and light emitting diode (LED) test probes

circuit continuity testers

procedures for testing electrical systems, including:

accessing electrical terminals and using test probes without damaging connectors, fuse holders or wiring

checking resistance, current flow and voltage drop of system circuits

procedures for identifying and tagging damaged electrical test equipment.

# Assessment Conditions

Assessors must satisfy NVR/AQTF assessor requirements.

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting.

Assessment must include direct observation of tasks.

Where assessment of competency includes third-party evidence, individuals must provide evidence that links them to the LV electrical test equipment they have identified, selected and used, e.g. repair orders.

Assessors must verify performance evidence through questioning on skills and knowledge to ensure correct interpretation and application.

The following resources must be made available:

automotive service repair workplace or simulated workplace

manufacturer specifications and operator instructions for LV electrical test equipment

materials and equipment relevant to using and checking automotive LV electrical test equipment

LV electrical test equipment, including:

test lights and probes

circuit continuity testers

digital multimeters

electrical components and circuits requiring the use of LV electrical test equipment, as specified in the performance evidence.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b4278d82-d487-4070-a8c4-78045ec695b1

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b4278d82-d487-4070-a8c4-78045ec695b1