# Assessment Requirements for AURETU001 Install air conditioning systems

Release: 1

Assessment Requirements for AURETU001 Install air conditioning systems

# Modification History

| Release | Comment |
| --- | --- |
| Release 1 | New unit of competency. |

# Performance Evidence

Before competency can be determined, individuals must demonstrate they can perform the following according to the standards defined in this unit’s elements, performance criteria, range of conditions and foundation skills:

install an air conditioning system in two different vehicles or machinery.

# Knowledge Evidence

Individuals must be able to demonstrate knowledge of:

work health and safety (WHS) and occupational health and safety (OHS) requirements relating to installing air conditioning systems, including procedures for:

working with refrigerants at boiling point given risk of frostbite

working with system lubricants, including carcinogenic oils

handling flammable refrigerants and refrigerant recovery equipment

selecting and using personal protective equipment (PPE)

identifying and using fire safety equipment

environmental requirements, including procedures for preventing loss of refrigerant to the atmosphere.

methods for locating manufacturer specifications and workplace procedures, including safe operating procedures and current Australian automotive code of practice

requirements of Automotive code of practice: Control of refrigerant gases during manufacture, installation, servicing or de-commissioning of motor vehicle air conditioners

principal types of vehicle air conditioning systems, including:

piston, scroll and rotary vane compressors

electric compressors

variable displacement compressors

clutchless compressors

application, purpose and operation of air conditioning systems, including:

climate control

multi-zone systems

refrigerant types, operating pressures and suitable lubricating oils

techniques for reading and interpreting technical information, including:

refrigerant saturation temperatures in relation to ambient temperatures and changing levels of humidity

graphic symbols and diagrams

procedures for using and operating tools and equipment, including:

hand tools

manifold and gauge sets

refrigerant hoses and couplers

recovery units and vacuum pumps

electronic leak detector

nitrogen cylinder and regulator

digital vacuum gauge (vacrometer)

oil injector

infra-red thermometer (pyrometer)

electronic temperature probe

electronic scales

valve core removal or replacement tool

humidity detector (psychrometer)

multimeter

procedures for installing air conditioning systems and components, including:

techniques for reading and interpreting technical information, wiring diagrams and graphic symbols

methods of determining wiring and connection type and size for system

methods of determining placement of components on vehicle or machinery

methods of connecting system and components to existing electrical system without causing damage or problems, including:

selecting and soldering wires

selecting and crimping terminals

removing and replacing connectors

post-installation testing procedures, including:

validating effectiveness of installation, including checking for:

electrical connector mating

ambient temperature

centre vent temperature

condenser and suction line temperature

manifold gauge pressure readings

refrigerant leaks

procedures for completing workplace documentation, including ARCtick sticker.

# Assessment Conditions

Assessors must satisfy NVR/AQTF assessor requirements and hold an Australian Refrigerant Council (ARC) Refrigerant Handling licence.

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting.

Assessment must include direct observation of tasks.

Where assessment of competency includes third-party evidence, individuals must provide evidence that links them to the air conditioning systems that they have installed in vehicles or machinery, e.g. work orders.

Assessors must verify performance evidence through questioning on skills and knowledge to ensure correct interpretation and application.

The following resources must be made available:

automotive repair workplace or simulated workplace

workplace instructions

vehicle and machinery wiring specifications relevant to system and components being installed

manufacturer air conditioning system specifications

Australian automotive code of practice: Control of refrigerant gases during manufacture, installation, servicing or de-commissioning of motor vehicle air conditioners.

two different vehicles or machinery requiring installation of air conditioning systems

material necessary to install air conditioning system components

tools, equipment and materials appropriate for installing air conditioning system components, including:

manifold and gauge set

recovery unit

vacuum pump

electronic leak detector

nitrogen cylinder and regulator

digital vacuum gauge (vacrometer)

multimeter

electronic scales

oil injector

infra-red thermometer (pyrometer)

electronic temperature probe

valve core removal or replacement tool

humidity detector (psychrometer)

air conditioning gas appropriate to system being installed.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b4278d82-d487-4070-a8c4-78045ec695b1

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b4278d82-d487-4070-a8c4-78045ec695b1