# CPCBIM4003 Contribute to BIM deliverables for construction work

Release: 2

CPCBIM4003 Contribute to BIM deliverables for construction work

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.0. New unit. |

# Application

This unit of competency specifies the skills and knowledge required to contribute to Building Information Modelling (BIM) deliverables for construction work. It includes confirming handover requirements and deliverables, validating data for completed work, capturing data to record as-built conditions, and contributing information to enable a digital handover.

The unit applies to builders, tradespersons, project and site managers who work on construction projects that incorporate BIM interaction, collaboration and deliverables. It requires digital literacy skills to use software via information and communication technology (ICT), including applications on mobile devices to find, retrieve and communicate information.

A person who has achieved this unit of competency is able to work with autonomy and take responsibility for applying BIM processes to construction work.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work. Achievement of CPCWHS1001 Prepare to work safely in the construction industry meets this requirement.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Business information modelling

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Confirm deliverables and handover requirements. | 1.1 | Check plans and relevant documentation to clarify project deliverables and handover requirements to comply with BIM Execution Plan. |
|  |  | 1.2 | Prepare documentation necessary to enable model-based collaboration between project participants. |
|  |  | 1.3 | Consult with project participants to confirm project deliverables, including asset identifiers, tagging, classification and other requirements for digital handover. |
| 2 | Validate project information for completed construction work. | 2.1 | Check completed construction work to confirm compliance with plans, specifications and BIM Execution Plan. |
|  |  | 2.2 | Input information and data required to complete asset register and comply with project requirements for model and data deliverables. |
|  |  | 2.3 | Verify currency and format of Common Data Environment (CDE) information and data associated with completed construction work to meet requirements of BIM Execution Plan. |
|  |  | 2.4 | Implement actions required to address problems with data capture, information currency or format to meet BIM Execution Plan. |
| 3 | Finalise handover for construction work. | 3.1 | Capture data to record ‘as-built’ conditions according to BIM Execution Plan and workplace requirements. |
|  |  | 3.2 | Contribute information to enable digital handover to be finalised to meet BIM Execution Plan, performance, quality, commissioning, regulatory and workplace requirements. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

digital literacy skills to use software and applications on mobile devices to find, retrieve and communicate information.

# Unit Mapping Information

No equivalent unit.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCBIM4003 Contribute to BIM deliverables for construction work

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 6.0. New unit. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit contributing to Building Information Modelling (BIM) deliverables for completed construction work in compliance with project requirements specified in a BIM Execution Plan and, in doing so:

use at least two different BIM technologies (tools and software)

identify and correct two problems associated with data capture, information currency and/or format.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

BIM project delivery methods

BIM standards relevant to planned construction work, including the BIM ISO 19650 Organization and digitization of information about buildings and civil engineering works, including building information modelling (BIM) - Information management using building information modelling (or its successor)

BIM uses relevant to construction phases

common BIM tools and technologies

common methods for identifying assets in a BIM asset register

documentation used to enable model-based collaboration between project participants

graphical and data communication methods when working with BIM

meaning and benefits of visual communication and extended reality technologies during the construction phase of a BIM project

meaning and purpose of ‘digital twin’, its relationship with BIM, and its context within the facets of the operations and maintenance phase

meaning of open formats as distinct from proprietary formats and their role in interoperability and archiving of project information

methods for confirming currency of construction documentation and data

purpose and content of BIM Execution Plans and their relationship to project information requirements

purpose and components of the Project Information Model (PIM) that can be expected at handover from using BIM tools and workflows for construction projects

purpose and identification and classification to elements of a BIM model

role of the Common Data Environment (CDE) in managing project information

roles and responsibilities of BIM project participants across multiple disciplines

types of drawings, models and documentation used for a BIM handover

workplace requirements for finalising construction work to comply with BIM project requirements:

compliance with relevant regulations and standards

documentation

quality control

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, technologies, equipment and other resources required to achieve the performance criteria and performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad