# Assessment Requirements for CPCCBC4012 Read and interpret plans and specifications

Release: 2

Assessment Requirements for CPCCBC4012 Read and interpret plans and specifications

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCCBC4012B Read and interpret plans and specifications. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by identifying and interpreting building and construction information from a set of plans and specifications.

In doing this, the candidate must:

identify orientation of structures, site contours, datum and reduced levels, and site features to be removed or retained

identify structural load bearing information of the building and compare information from specification

check wind bracing materials and tie-down methods for accuracy against the wind bracing table

interpret essential elements from two-dimensional to three-dimensional format, and apply to estimation, planning and supervisory tasks.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

types of plans:

concept drawing/sketches

architectural

structural

civil

mechanical

electrical

plumbing and draining

parts of a plan:

site plan

floor plan

elevations

sections

details

drawing conventions:

datum and reduced levels (RL)

title block

scale

dimensions

abbreviations

utilities and services plans and specifications

isometric drawings, oblique drawings, perspective drawings and orthographic drawings

computer-aided design (CAD) drawings

building and construction regulations, standards and codes

classes of buildings

the NCC

building information modelling (BIM)

building and construction methods and terminology

workplace processes, workplace safety and environmental requirements.

# Assessment Conditions

Assessors must satisfy the requirements for assessors listed in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

plans and specifications and other quality documentation required to undertake the performance criteria and assessment requirements

relevant government building and construction and contract legislation

current building and construction codes and standards

National Construction Code

computers, applications and software to access CAD.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad